Tulip Medical

Quality System Procedure

QSP 4.2-4

Good Documentation Practices

Approvals

VP Regulatory Affairs	Date

Regulatory Affairs Coordinator	Date

Document Control Administrator	Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 0 |  | Initial release. |
| 1 | 01/09/2018 | Adding clarification to document practices. [01/09/18 – revised formatting, which does not require a change request.] |
| 2 | 09/23/2019 | Added “Date” to the front page and corrected Rev 1 by moving date to the column. Section 2.0 SCOPE: changed the Scope |
| 3 | 5/23/2025 | Rephrase Purpose |

- PURPOSE

To define standardized instructions for documenting corrections on quality records in accordance with Good Documentation Practices and to establish controls that prevent unauthorized or untraceable changes to existing data. This procedure supports data integrity, traceability, and regulatory compliance as required under the Medical Device Regulation (EU) 2017/745.

- SCOPE

This procedure applies to all Tulip Personnel to ensure the proper processing of Tulip documents, forms, and records.

- REFERENCE DOCUMENTS

| Form 6.2-1-2 | Training Record |
| --- | --- |
| QSP 4.2-1 | Document Control |
| QSP 4.2-2 | Control of Quality Records |
| QSP 6.2-1 | Training and Qualification |
| QSP 7.5-1 | Device History Record |

- DEFINITIONS

Document Control – Consists of Regulatory Affairs (RA) and Quality Assurance (QA).

Management Representative – The member of Tulip Medical whose cross-functional role encompasses the development and monitoring of the quality management system to ensure accuracy and effectiveness of all Quality System Procedures (QSPs).

- ABBREVIATIONS

CEO – Chief Executive Officer

DC – Document Control

GDP – Good Documentation Practices

MR – Management Representative

QA – Quality Assurance

QSP – Quality System Procedure

RA – Regulatory Affairs

- RESPONSIBILITIES

The Management Representative is responsible for maintaining this procedure in a current state and ensuring that the filing of in-progress and completed Change Requests (CRs) is performed in an effective manner.

All employees are responsible for complying with the requirements of this procedure.

- PROCEDURE

  - Key Qualities of Documents

    - The following is a list of the key qualities that are needed when generating documents:

- Concise: information shall be presented clearly so that it can be easily understood with no room for misinterpretation.

- Legible: Information should be readable and leave no room for error (for example, hand-written data that are not legible may cloud data analysis or result in “missing data”).

- Accurate: documentation should be error-free – properly reviewed, verified and approved. Information should be recorded as an event happens and not after the fact.

- Traceable: documentation should be traceable. It shall be clear who logged the information, what it was, and when and why it was documented.

  - Documentation that should follow GDP includes, but is not limited to:

- Laboratory notebooks

- Logbooks

- Master batch records

- Specifications

- Protocols and reports (for example, validation, sterilization, stability, laboratory, animal and clinical studies)

- Purchase orders

- Contracts

- Training records

- Medical device history files and records

  - Quality Records Creation and Corrections

    - All entries shall be neat and legible.

    - Do not use white-out for quality records.

    - To correct an error on a quality record, strike out the entry with a single line stroke, write the correct information and include explanation if it is not self-explanatory (use personal judgment). Include your initials and the date the correction was made.

  - Reviewing Quality Records

    - All entries are reviewed for correctness, especially when referencing other documents such as purchase order numbers, NCR numbers, lot numbers, revision numbers, etc. If references are written incorrectly, the requirement for traceability is lost.

Note: See QSP 7.5-1 Device History Record for the importance of traceability.

  - Changes to Existing Data

    - To prevent unauthorized additions to existing data, unused portions of tables are crossed out neatly.

    - If data is added, or changes need to be made to the document, the additions or revised data are reviewed and approved according to QSP 4.2-1 Document Control.

  - Date Format

    - Dates shall be written clearly in either of the following formats:

      - Month/Date/Year (i.e. June 24, 2005 or 6/24/05

      - Writing the date in the numerical format YYYY-MM-DD (i.e. 2005-06-24).

Note: When correcting a quality record, or when reviewing a quality record in the DCO process, the date shall be written in the numerical format as above.

  - Signatures & Initials

    - Each employee is required to add their signature and initials to this list.

    - In those cases where employees have the same initials, their middle initials are used to distinguish the two employees.

  - Do’s and Don’ts

- Authorized colors for official documents are blue, black, and/or purple ink. All markings must be completed and recorded in indelible ink.

- Make clear, complete and legible entries.

- Make an entry when an event happens (not later).

- Make corrections that are legible and traceable. For example, when a correction is required, put a line through the error, make the correction next to the error, and include an explanation if it is not self-explanatory (use personal judgment), and initial and date the correction.

- If it is not appropriate to fill in a space in a document (such as an empty page), enter ‘N/A,’ your initials and the date so that no further information can be added later.

- Do not use pencils or erasable ink.

- Do not use white-out or any masking devices.

- Do not make corrections that are not traceable (for example, overwriting entries with no date, initial or explanation).

- Do not use sticky notes on official documentation.

- Do not back-date or post-date.

- Do not use ditto marks.

- Do not use asterisks that may cause confusion (such as the same asterisk for different footnotes).

- Do not transcribe data.

- Do not use unbound laboratory notebooks without page numbers (that is, avoid any doubt concerning missing pages).

- PROCESS FLOWCHART

N/A