# Tulip Medical

# Quality System Procedure

# QSP 6.3-1: Preventive Maintenance

Approvals

V.P Regulatory Affairs					                           Date

Regulatory Affairs Coordinator		                                                        Date

Document Control Administrator				             Da

| Rev | Date | Description of Change |
| --- | --- | --- |
| 1 | 06/08/2014 | It is updated for new equipment and maintenance manual review for periodicity. |
| 2 | 09/18/2014 | Updated references for ISO 13485:2016 |
| 3 | 06/02/2015 | Updated Section 7 Equipment. |
| 4 | 12/12/2016 | Updated Section 7 Equipment. |
| 5 | 08/28/2018 | Updated formatting, Purpose, Scope, Reference Documents, Definitions, Responsibilities, and Procedure. Addition of 'Date' column to Revision Table. Revised maintenance table - calibrated equipment removed from the list. The equipment has been inspected. |
| 6 | 10/07/2019 | Updated Section 7 Equipment |
| 7 | 5/19/2020 | 3.0 Reference Documents - removed Food and Drug Administration as it is not necessary to include in QSP; added RDC ANVISA 16-2013; added RFD-092 Floor Plan 7.0 Procedure - added 7.1 Refer to RFD-092 Floor Plan on receiving of products and outgoing product flow, all following procedure numbers moved down by one digit. |
| 8 | 3/11/2025 | - -Removed RDC ANVISA 16-20123 -Removed Form 6.2-1-2 -Added Form 6.3-1-2 -Removed Form 7.6-1-1 -Removed QSP 6.2-1 - -Removed Emergency repair -Added Non-Scheduled maintenance -Rephrased Maintenance -Rephrased Preventive Maintenance -Rephrased Scheduled Maintenance -Removed Production Personnel -Added Consumables - -Added PM- Production Manager - -Updated Operation to Production - -Updated Procedure - -Added Flowchart |
| 9 | 5/23/2025 | 3.0 Added QSP 4.2-2 As mentioned in Procedures 7.12 |

# PURPOSE

To define the maintenance procedure for production equipment used to manufacture or assist in the manufacture of finished devices. This procedure will ensure that the equipment is capable of consistently operating within established limits and tolerances and remains in a validated state (for equipment that requires process validation).

# SCOPE

This Quality System Procedure applies to equipment but does not apply to the calibration of monitoring and measuring devices, as described in QSP 7.6-1 Control of Measurement Equipment.

This QSP applies to any equipment used in the manufacture of the finished devices to ensure that the equipment performs to specifications. Equipment must be maintained and in proper working condition and may be qualified, verified, or calibrated depending on the application.

# REFERENCE DOCUMENTS

| Form 6.3-1-1 | Preventive Maintenance Schedule |
| --- | --- |
| Form 6.3-1-2 | # Preventive Maintenance Record |
| # QSP 4.2-2 | # Control of Quality Records |
| # QSP 7.6-1 | # Control of Measurement Equipment |
| # RFD-057 | # Inspection Record Tag |
| # RFD-092 | # Floor Plan |

# DEFINITIONS

Non-scheduled maintenance – Tasks that require attention for unforeseen discrepancies on equipment that may affect its operation.

Maintenance - The repair and upkeep of existing equipment, in accordance with current design and operating specifications.	Equipment must be kept in a safe working condition to meet its intended purposes.

Management Representative - The member of Tulip Medical, whose cross-functional role encompasses the development and monitoring of the quality management system to ensure the accuracy and effectiveness of all Quality System Procedures (QSPs).

Preventive Maintenance - a proactive approach to maintenance that helps prevent unexpected equipment failures.

Scheduled Maintenance – A planned period of equipment downtime where routine checks and repairs are performed to ensure

optimal functionality

Consumables – A material or item that is depleted during the operation of a device or process.

# ABBREVIATIONS

MR - Management Representative

PM - Production Manager

# RESPONSIBILITIES

The Management Representative is responsible for maintaining and updating this procedure as necessary to ensure it is up to date.

The Production Personnel are responsible for maintaining the equipment in good working order and documenting these activities on the Maintenance Inspection Record Sticker, which is applied to each piece of applicable equipment.

The Production Manager is responsible for assuring that maintenance is performed as specified in this procedure and according to the manufacturer's instructions.

# PROCEDURE

  - Refer to RFD-092 Floor Plan when cross-referencing for the location of equipment

  - Production equipment is maintained in accordance with a routine maintenance schedule and non-scheduled repairs.

  - Refer to Form 6.3-1-1 Preventive Maintenance Schedule administered by the Production Manager to ensure the list of the equipment mentioned is inspected at the frequency stated to prevent an adverse effect on the safety, dependability, or quality of the final product.

  - Initiate Form 6.3-1-2 Preventive Maintenance Record to conduct the preventive maintenance task as stated on Form 6.3-1-1

  - Non-scheduled repairs of parts that affect the overall function will also initiate Form 6.3-1-2

  - Non-scheduled replacement of consumables or cleaning may be needed by production personnel or manager for daily operation.

  - Record both preventive maintenance and non-scheduled repairs of each task completed from Form 6.3-1-1 onto the Inspection Record Tag on equipment refer to RFD-057.

  - The Production Manager (PM) will then update Form 6.3-1-1 upon completing Form 6.3-1-2

  - In any occurrence of preventive maintenance where the equipment refers to a specific manufacturer's instructions, maintenance shall incorporate established commercial safety guidelines if applicable.

  - Parts will not be removed from any unit of equipment and used to restore another unit to operating condition without the explicit authorization of the Management Representative (MR) or Production Manager (PM)

  - The Production Manager (PM) is responsible for monitoring the satisfactory performance of any outside contract services performing servicing of commercial equipment and systems.

  - Document Control will collect Form 6.3-1-2 and upload it per QSP 4.2-2 Control of Quality Records

  - Inspection of Maintenance Records for production equipment will commence during internal audits.

# FLOWCHART