Tulip Medical

Quality System Procedure

QSP 8.2-1:  Quality Audits

Approvals

V.P. Regulatory Affairs	 						Date

Regulatory Affairs Coordinator	 					Date

Document Control Administrator 						Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 0 | 05/07/2013 | Released documentation – Implementation of document for compliance to FDA QSR 21 CFR 820.22 Quality Audit and USI 13485:2003 8.2.2. |
| 1 | 05/07/2014 | Updated Auditor qualification requirements and audit process. |
| 2 | 09/23/2014 | Updated reference documents. |
| 3 | 09/10/2018 | Revised in accordance with new ISO 13485:2016 regulation. |
| 4 | 04/13/2020 | 1.0 Purpose: update paragraph; removed last sentence in note 3.0 Reference Documents: removed FDA, ISO, CMDR references; added QSP 6.2-1 and QSP 7.4-1 6.0 Responsibilities: added & Authorities; added Auditor; added ‘management response to audit on nonconformities…’ to sentence 7.0 Procedure, 7.1 Internal Audit Schedule: added ‘and qualified per the supplier approval procedure’ after ‘will be hired’; corrected MSS to MDD; 7.1.2 updated the section to QMS complaint to the regs’; 7.1.3 added to end of sentence ‘, and the corrective actions implemented from the last QMS audit’; 7.1.5 added ‘These audit use…’ to end of paragraph 7.2 Audit Team training and qualification/evaluation, 7.2.1: added to paragraph ‘Auditor cannot audit their own work nor their work areas.’ 7.4 Conduct Audit, 7.4.1: added bullet point ‘statement that the previous nonconformities have been addressed; added to bullet point Areas audited ‘ & areas/criteria not audited; 7.4.2: added ISO 13485, ANVISA, PMDA, and TGA 7.5: added after timely manner ‘using the Internal Audit Report (QSP 8.2-1-1) 7.6 Corrective and Preventive Action Initiation, 7.6.1: corrected and to any 7.8 is an addition to QSP; 7.8 Reporting to Management; added 7.8.1 paragraph |
| 5 | 7/8/2020 | 4.0 Definitions – moved Internal Auditor from Responsibilities and Authorities and renamed as Internal Auditing; added Opportunity for Improvement; added Quality Audit 6.0 Responsibilities and Authorities – added Regulatory and Tulip Audit Team 7.0 Procedures – 7.1.1 added notified bodies; 7.1.5 changed to MR and Regulatory to assign; added 7.1.6 Handle any findings found during the internal audit according to QSP 8.5-1. Include the level of severity; added 7.2.1 Tulip elects to outsource the audit; 7.4.2 added MDSAP and notified bodies; 7.5 added the Form 8.2-1-1 Internal Audit Report; added 7.6.2 open a CAPA for all audit findings; 8.0 Flowchart – updated to current procedure |
| 6 | 6/15/2021 | Added form 8.2-1-3 Internal Audit Schedule with Checklist – Updated section 7.0 to better align with regulations, specify forms being used for planning and scheduling, and improve clarity and flow. |
| 7 | 03/11/2025 | 1.0 Addition of Regulatory Affairs Coordinator in the approval signature 4.0 Deleted “MR” due to repetition also in 6.0 7.0 Updated responsibilities and requirements within the procedure 8.0 Update Flowchart |
| 8 | 5/23/2025 | Updated all references from MDD to MDR in alignment with EU Regulation 2017/745. Revised Section 3.0 to list the EU MDR as a reference document. Updated Section 7.0 (Procedures) to replace all prior MDD mentions with MDR, ensuring the internal audit process is compliant with current EU regulatory requirements. |
| 9 | 8/6/2025 | 5.0 Added VPRA - Vice President of Regulatory Affairs to the abbreviation and throughout the QSP 6.0 Updated responsibilities from MR to VP of Regulatory Affairs 7.3.1 added conclusion summarizing compliance and effectiveness per ISO 13485:2016 Clause 8.2.4." |

- PURPOSE

To perform, monitor, and take timely and effective corrective action on the results of quality audits per the requirements of the 
Quality Manual (QM 1).

Note: Per 21 CFR 820.180 General Requirements, internal and supplier audit results do not have to be made available to FDA. Management shall certify in writing that the internal audits and supplier audits, where applicable, have been performed, the dates performed, and that any required corrective action has been undertaken. FDA exempts Internal and supplier audits from review.

- SCOPE

This Quality System Procedure is to be followed by all Tulip Medical Products personnel. Comprehension of, and satisfactory expertise in, the material covered by this Quality System Procedure by each employee will be indicated through the completion of all applicable and appropriate training requirements, as is indicated by the completion of Form 6.2-1-2 Training Record in accordance with QSP 6.2-1 Training and Qualification.

- REFERENCE DOCUMENTS

| EU Medical Device Regulation (EU) 2017/745 |  |
| --- | --- |
| Form 6.2-1-2 | Training Record |
| Form 8.2-1-2 | Internal Audit Plan/Report |
| Form 8.2-1-3 | Internal Audit Schedule with Checklist |
| QSP 4.2-2 | Control of Records |
| QSP 5.6-1 | Management Review |
| QSP 6.2-1 | Training and Qualification |
| QSP 7.4-1 | Purchasing and Supplier Evaluation |
| QSP 8.5-1 | Corrective and Preventive Action |

- DEFINITIONS

Internal Auditing is an independent, objective assurance and consulting activity designed to add value and improve an organization’s operations.  It helps an organization accomplish its objectives by bringing a systematic, disciplined approached to evaluate an improve the effectiveness of risk management, control, and governance processes.

Nonconformance – Nonfulfillment of a specified requirement.

Opportunity for Improvement – Observations that cannot be directly referenced to either a non-fulfillment of either the requirements of the standard and/or a requirement in the organization’s system, such as a documented procedure/work instruction/process chart, documented objective, etc.; shall remain observations.

Quality Audit – A systematic, independent examination of a manufacturer's quality system that is performed at defined intervals and at sufficient frequency to determine whether both quality system activities and the results of such activities comply with specified quality system procedures, that these procedures are implemented effectively, and that these procedures are suitable to achieve quality system objectives.

- ABBREVIATIONS

CAPA – Corrective Action and Preventive Action

DCA – Document Control Administrator

FDA – Food and Drug Administration

ISO – ISO 13485

QSP – Quality System Procedure

VPRA – Vice President of Regulatory Affairs

- RESPONSIBILITIES

The VP of Regulatory Affairs is responsible for maintaining this procedure in its current state and ensuring that internal audits are carried out effectively and efficiently. The VP of Regulatory is also responsible for creating the internal audit plan/report and schedule/checklist, as well as assigning a qualified auditor.

Regulatory Team is responsible for implementing effective corrective and preventive actions based on audit findings and must respond to audit nonconformities without undue delay.

- PROCEDURE

  - Internal Audit

    - The VPRA is responsible for completing the internal audit Plan/Report (Form 8.2-1-2) in accordance with ISO 13485, FDA QSR, MDR, and MDSAP.

    - Including defining the audit criteria, scope, interval, and methods.

    - Scheduling a qualified internal or external auditor

    - An outside consultant will be hired and qualified per the Purchasing and Supplier Evaluation (QSP 7.4-1), to lead the audit team on an overall quality system audit. This outside auditor will have documented training in ISO 13485, FDA QSR, MDR 2017/745, and MDSAP.

    - Auditor will follow Tulip’s;

      - Internal audit plan/report but may use their own format as long as it contains the audit criteria, scope, interval and methods.

      - Ensure objectivity and avoid auditing their own work

      - Document findings and present citing’s

    - Internal Audits are required to establish confidence that the system controls are being followed and effective.

    - Throughout the year, Regulatory can assign personnel to perform spot audits. These spot audits will check specific aspects of the quality system and will serve as an indicator for process compliance.

      - These audits use a risk-based approach.

      - Re-audits of deficient areas are conducted when necessary.

    - Regulatory and the Tulip Audit team will implement the corrective action plan and provide timely responses to audit non-conformities

    - VPRA to conduct a management review meeting of discrepancies upon closing the audit report

    - DCA will log and record the completed results

  - Annual Audit

    - Tulip elects to outsource the Audits led by an outside auditor with the qualifications listed in 7.1.1.

    - The lead auditor advises management of the area(s) to be audited, the schedule of the audit, and the applicable section(s) of the Quality Manual, QSPs, and Work Instructions. The date and time of the audit are agreed upon.

  - Conduct Audit

    - An audit report contains the following:

- Date(s) of the audit

- Auditor(s)

- Areas audited and areas/criteria not audited

- Personnel present / interviewed during audit

- Findings

- A formal conclusion statement summarizing the overall compliance status and effectiveness of the audited area, in accordance with ISO 13485:2016 Clause 8.2.4

    - An audit checklist may be used as part of the planning process.

Note: This can include the applicable section(s) of the Quality Manual, the QSPs, Work Instructions, Forms, Product Data; ISO 13485, FDA, CMDR, ANVISA, PMDA, TGA, MDSAP, and/or MDR regulations, etc. for the area audited, including past audit results if applicable.

    - Using the audit schedule and checklist, the auditor conducts the audit to verify that the planned process / procedures are being followed and that they are effective.

    - Verbally review audit results with management of the area audited at the completion of the audit.

    - The written audit results, including any nonconformance, are reported to the management of the area(s) audited in a timely manner using Form 8.2-1-2 Internal Audit Report.

  - Corrective and Preventive Action

A CAPA will be opened for all audit findings and corrected in accordance with QSP 8.5-1

  - Reporting to Management

All internal audits results, including trending, are reported in Management Review (see QSP 5.6-1).

  - Audit Completion

    - The audit is considered closed when the audit report has been written and reported to management and when the CAPAs, if any, have been issued.

    - The completed Audit Report and any audit checklists are forwarded to the VPRA and maintained by the DCA as a quality record (see QSP 4.2-2 Control of Records).

- FLOWCHART