Tulip Medical

Quality System Procedure

QSP 4.2-3:  Change Control

Approvals

VP Regulatory Affairs	Date

Regulatory Affairs Coordinator	Date

Document Control Administrator	Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 0 | N/A | Initial release. |
| 1 | 06/27/2017 | Job title references updated. |
| 2 | 10/19/2017 | Procedure updated and simplified to accurately capture the current procedure used by Tulip Medical when performing Change Requests. Flowchart updated to match procedure. |
| 3 | 04/23/2018 | 7.6.3 Added to describe how employees are notified of change implementations. |
| 4 | 08/28/2018 | Sections 4.0, 5.0, 7.2.4, 7.3.1 and 7.3.2 updated for accuracy. |
| 5 | 04/24/2019 | No changes to the document. Annual employee training on the procedure of this QSP. |
| 5 | 07/15/2019 | Correction to the 8.0 Flow Chart to align with the procedure. |
| 6 | 09/24/2019 | Section 7.5 Training – 7.5.3, changed to: The CR undergoes implementation and training is scheduled. Section 7.6 Change Implementation – 7.6.2, changes to reflect the manual control document system; 7.6.3, added ‘…implementation by department manager.’ Section 8.0 Flow Chart – added to decision 7.8 ‘Authorized Deviation – When expediting a change to a…’ |
| 7 | 01/06/2020 | 5.0 Abbreviations – added DCA – Document Control Administrator 7.4 Document Decisions – changed to 7.5 CR Closing Checklist and 7.4 Document Dec., moved inventory to this section and changed to DCA as the closer 7.4.3 – update to MR approves the final CR 7.4.2 changed to 7.5.2 7.4.3 changed to 7.5.3 |
| 8 | 02/11/2020 | 5.0 Abbreviations: Added DC and VPO 7.0 Procedure, 7.1-2: this section added – ‘Initiator of CR must complete all changes to documentation. If testing and/or validation needs to be performed, this must also be completed before requesting a CR number.’ 7.2 Initiate Change Request, section 7.2-1: the DCA is the one who assigns the CR numbers. Added the initiator’s responsibility to the form; 7.2-2 removed ‘preliminary’ from sentence; Restructured section 7.2-2, 7.2-3 for form and flow 7.3 Change Request Form Reviewed by Approving Authorities and 7.4 Document Decision, combined and restructure for current form and flow 8.0 Process Flow Chart – updated |
| 9 | 7/17/2020 | 1.0 Purpose and 2.0 Scope – corrected sentence structure. 3.0 Reference Documents – added 6.2-1-4 Training Log 4.0 Definitions – added Change Control, Notified Bodies 5.0 Abbreviations – removed CEO 6.0 Responsibilities – added and Authority, added Regulatory and Management Representative 7.0 Procedure – the entire section has been revised to the current procedures. 1st sentence under Procedure is revised; 7.1.2 – restructured the sentence; 7.2 added the Document Review Traveler, which moved all other sections down; 7.2.3 thru 7.3.4 updated to the current procedures; 7.3.3 expanded the procedure on notifying the regulatory agency; 7.3.5 is now the Purchasing Management/Inventory procedure; moved 7.5 Training to 7.3.2 which moved Change Implementation to 7.5; 7.4 Closing checklist has been updated to current procedures; 7.6 is now Record Maintenance. 8.0 Authorized Deviation – formerly 7.8 and moved to its own section; revised to current procedures 9.0 Process Flowchart – formerly 8.0; updated chart according to current procedures. |
| 10 | 11/04/2020 | Changed signature from VP of Operations to Management Representative 1.0 Purpose – updated the paragraph 2.0 Scope – updated the scope 3.0 Reference Documents – remove QSP 9.1-3 Development of Technical File and QSP 7.3-2 Device Master Record. These two QSPs are not mentioned or referred to in this document. Added Form 4-.2-3-3 Authorized Deviation; added Form 7.2-2-2-1 Kit or Set Request Log. 6.0 Responsibilities – add “or deviations…”, in Regulatory and Management Representative responsibility. Added QA/RA responsibility. 7.0 Procedure – (NOTE) this note pertains to no CR is needed for NEW Kit or Set Request. 7.2 Document Review Traveler (7.2.1) – Change to numbers instead of bullets. Corrections to #1 thru #4. 7.3 Initiate A Change Request (7.3.1) – Changed the RA to DCA. (7.3.3) grammatical changes. 7.4 Approving Authorities – Added MR or VPO. (7.4.2) grammatical corrections. 7.5 CR Closing Checklist – (7.5.2) used acronyms. 7.6 Change Implementation – added QSP 7.4-1. (2nd bullet) removed DropBox. (5 and 6 bullet) removed DropBox and combined sentence for clarity. 7.7 Record Maintenance – updated to “For record storage and retention, refer to QSP 4.2-2”. 8.0 Authorized Deviation – (8.1) Changes to “requesting” no complete… (2nd bullet) changed last part of sentence to “affected deviation.” (3rd bullet) updated to “must have an official CR.” 8.2 – After further research in QSP 7.3-2, this sentence is removed because there is no mention of authorized deviation. 9.0 Process Flowchart – updated chart according to changes. 7.9 Authorized Deviation changed to 8.1. 7.6, Training required changed to 7.4.2, 7.7 Change implementation changed to 7.6, and 7.8 Record maintenance changed to 7.7. |
| 11 | 2/23/2021 | Added reporting criteria to sections 7.4.4, 7.4.5, and 7.4.6 |
| 12 | 6/11/2021 | 3.0 REFERENCE DOCUMENT: Realignment of Forms - Form 4.2-4-1 Document Review Traveler, Form 4.2-4-1 Change Request, Form 4.2-4-1-L Change Request Log, and added Form 4.2-4-1-L Document Review Traveler Log; realignment of Form 7.5-3-1 Label Approval The realignment of the form numbers has been updated throughout the document; refer to 3.0 Reference Document changes. VPO has been removed throughout the document. |
| 13 | 03/10/25 | 3.0 -Removed 7.1-1-1 not referenced in QSP -Removed 7.2-2-2-1 not referenced in QSP 4.0 -Removed MR also stated in 6.0 Responsibilities 5.0 -Removed DC same as DCA -Added IM to match CR form -Added DRT to match CR form 6.0 -Added The Inventory Management Representative 7.0 -Deleted training prior to CR completion to add onto 7.7.2 checklist reminder to be done after approved. -Added Authorized Deviation into the correct step of the process to delete section 8.0 -7.2- The document traveler is now optional and not required for change requests. Addition of Regulatory Affairs Coordinator in the Approval signature7.1.1- Adjusted the bullet style to be consistent with the others. 7.4.4- Update Documents Affected List will have a column in Form 4.2-1-2 to indicate by way of initial and date, any updated documents have been added to the “current” folder old documents are removed to become obsolete. 7.5.2- Addition of a step if no agencies are provided. 8.0 Updated Flowchart |
| 14 | 5/23/25 | 3.0 Updated to MDR Regulation from MDD 4.0 Added term Significant Change 7.5.3 Changed EU MDR From MDD |
| 15 | 07/07/25 | 5.0 -Removed MR-Management Representative - Addition of PRRC- Person Responsible for Regulatory Compliance 6.0 Addition of Responsibilities for PRRC- Person Responsible for Regulatory Compliance 7.4.1 Restructured Change Request Form Process and Documentation Requirements Addition of Note: RA shall ensure the Reason for Change includes both a clear trigger and a timing rationale before approving. |

- PURPOSE

To describe this procedure, which aims to identify, establish, and implement the actions taken of a change that may affect product quality or the Quality System operation. The changes include, but are not limited to, changes to packaging, testing, production procedures, and any Quality System documentation.

- SCOPE

This Quality System procedure applies to all Tulip Medical Products personnel. Comprehension of and satisfactory expertise in the material covered by this Quality System Procedure by each team member will be indicated by completing all applicable and appropriate training requirements, as is indicated by the completion of Form 6.2-1-2 Training Record and QSP 6.2-1 Training and Qualification.

- REFERENCE DOCUMENTS

|  | Document Control Log, Packaging Approval Log, Label Approval Log |
| --- | --- |
| Regulation (EU) 2017/745 on Medical Devices (MDR) |  |
| Form 4.2-1-L | Change Request Log |
| Form 4.2-1-2 | Change Request |
| Form 4.2-4 | Document Review Traveler |
| Form 4.2-4-L | Document Review Traveler Log |
| Form 4.2-3-3 | Authorized Deviation |
| Form 6.2-1-2 | Training Record |
| Form 6.2-1-4 | Training Log |
| Form 7.2-2-2 | Kit or Set Request |
| Form 7.2-2-3 | Packaging Approval |
| Form 7.5-3-1 | Label Approval |
| QSP 4.2-1 | Document Control |
| QSP 4.2-2 | Control of Quality Records |
| QSP 6.2-1 | Training and Qualification |
| QSP 7.3-3 | Risk Management |

- DEFINITIONS

Change Control – Configuration management activities for control of the output after formal approval of its product configuration information.

Notified Bodies - perform audits, identify opportunities for improvement, and issue nonconformance to drive corrective action.

Significant Changes - are modifications that may impact the safety, performance, intended use, classification, or regulatory status of a medical device

- ABBREVIATIONS

CR – Change Request

DCA – Document Control Administrator

QA – Quality Assurance

QSP – Quality System Procedure

RA – Regulatory Affairs

IM – Inventory Manager

DRT- Document Review Traveler

PRRC- Person Responsible for Regulatory Compliance

- RESPONSIBILITIES

The Management Representative is responsible for maintaining this procedure in its current state and promptly ensuring the filing of in-progress and completed Change Requests (CRs).

The Regulatory and Management Representatives are responsible and have the authority to approve the implementation of a change request or authorized deviation when the change or update affects the quality system.

The Inventory Management Representative is responsible for reviewing processes, finished goods, or distributions that could be affected by the change request and notifying external subcontractors/ suppliers if needed.

Regulatory has the authority to complete or approve forms.

All employees are responsible for complying with the requirements of this procedure.

PRRC (Person Responsible for Regulatory Compliance): A qualified individual appointed under MDR Article 15 to ensure device conformity, maintain technical documentation, oversee post-market surveillance and vigilance, and issue statements for investigational devices.

- PROCEDURE

Follow this procedure when initiating, completing, and implementing a Change Request (CR).

  - A Need for Change is Established

Note:	When Form 7.2-2-2 Kit or Set Request is submitted, no CR is required. No CR also applies to Form 7.2-2-3 Packaging Approval and Form 7.5-3-1 Label Approval for a new kit or set request. Instead, refer to the corresponding logs. (Kit or Set Request Log; Document Control Log for the Packaging Approval and Label Approval Log).

    - The Department Manager of Tulip Medical can propose the desired change. This change may impact, but is not limited to:

- Product

- Supplier

- Labeling

- Any Quality System documentation

- Production process

- The operation of the Quality Management System

    - The initiator of a CR must complete all changes to the documentation.  Complete any testing or validation before requesting a CR number.

  - Document Review Traveler DRT (Optional)

    - Request form from DCA, fill out the form, attach it to a folder, and pass it to the first reviewer.

    - The reviewer reads the document, makes changes or corrections directly on the document, initials, and adds a Y for Accept as is or N for Changes.

    - Then pass it on to another reviewer who has not read the document. If no other reviewer skips to #5,

    - After reviewers have initialed, the initiator makes the changes and goes back through the process.

    - If there are no changes, the initiator adds the Final Date and requests a CR from DCA.

    - The document then continues through the Change Request process.

  - Authorized Deviation (Optional)

    - Request an Authorized Deviation from DCA when expediting a change to a controlled Quality Management System document

    - The responsible authority fills out Form 4.2-3-3 Authorized Deviation, showing the document to be changed and the changes. The form will also state whether the change is temporary or permanent. This form is optional and not required for change requests.

    - If temporary, indicate the period of the affected deviation.

    - If permanent, must have an official CR.

  - Initiate A Change Request

    - Requests Form 4.2-1-2 Change Request from DCA, who will provide the form with a CR Number, and logs in sequential order on Form 4.2-1-L Change Request Log. The DCA can assist the initiator in completing the following sections:

- Description of Change: A clear, concise explanation of what is being changed. Reference affected documents, drawings, or parts, and include supporting materials where applicable.

- Reason for Change: A detailed explanation of why the change is necessary. This must include:

  - The trigger (e.g., supplier notification, audit finding, complaint, CAPA, internal improvement)

  - The timing rationale – why the change is happening now.

Notes, sketches, samples, or proposed document changes must accompany the request to assist in defining the nature and scope of the proposed changes.

    - Submit CR packet to DCA for review

    - The DCA reviews the initiator’s entries for completeness, cross-references for QSPs, WIs, Forms, and RFDs, and lists the affected documents on the form. Copies of the referenced documents are made and added to the packet before forwarding them to CR for assessment by RA.

    - Documents Affected List will have a column in form 4.2-1-2 to indicate, by way of initial and date, any updated documents have been added to the “current” folder old documents are removed to “obsolete”

  - The PRRC will determine if the change could adversely affect the product, its processing procedures, or the Quality System Operation, and will advise the initiator if more information is needed.

Note: RA shall ensure the Reason for Change includes both a clear trigger and a timing rationale before approving.

The following section is to be completed by the RA on Form 4.2-1-2

    - Quality Assurance Assessment - Check yes or no box if verification, validation testing, or process qualification is required.

- For a YES answer, specify the requirement

- If NO, justify: Select the checkbox as the justification if the CR pertains to a QSP, WI, RFD, or Form:
 Documentation Only. No product involvement.

    - If the Regulatory Assessment is a YES, check the regulatory agency to be notified; next, check the documents required before implementing the CR. If none of the agencies are listed, proceed with selecting Other and fill in the appropriate agency.

    - All significant changes need to be reported as required per EU MDR 2017/745.

    - A change of Authorized Representative must be reported to the notified body within 30 days.

    - A change of Notified Body must be reported to the Authorized Representative.

    - After completion of the above sections, forward the CR packet to the Inventory Manager.

  - The IM must complete the following section, Inventory Management/Purchasing

- Since Tulip Medical Products is not responsible for the design of the products we sell at this time, any design change request would have to be made to the supplier to make the change under their design control. Relatively simple changes (an example is the thickness of a silicone sheet) may be made with a relatively lower control level since the basic design is not impacted. Such changes will be evaluated by Tulip Medical Products through its Risk Analysis, per QSP 7.3-3 Risk Management, as applicable.

- Requesting a supplier

- Supplier/contractor notification

  - Retain copies of all information to suppliers/contractors.

  - CR Closing Checklist

    - DCA completes the CR Closing Checklist by reviewing, initialing, and dating each action item.

    - DCA will update the Training Log revision of the document mentioned on the CR to the next revision for follow-up training requirements upon CR completion if applicable.

NOTE:  RA will advise the initiator if the CR is rejected or is missing documents.

    - Any document or form indicated on the CR requires a signature and date of an approving authority. The PRRC is the approving authority on the Final Review.

  - Change Implementation

A change implementation occurs when a completed CR with all applicable, updated documents and completed training is signed and approved. (QSP 4.2-1)

    - The DCA updates the following:

      - Change Request Log – update columns, including the closure date. (Form 4.2-1-L)

      - Scan and file in the appropriate folder for backup purposes only

      - File signed originals in the Master Binders

      - File the completed CR packet in the controlled file cabinet

      - Schedule required training for applicable personnel

  - Record Management

DCA will hold and maintain all completed CR forms and supporting documentation. For record storage and retention, refer to 
  QSP 4.2-2.

- PROCESS FLOWCHART