Tulip Medical

Quality System Procedure

QSP 6.2-1:  Training and Qualification

(For Managers and Trainers Only)

Approvals:

VP Regulatory Affairs	Date

Regulatory Affairs Coordinator	Date

Document Control Administrator	Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 2 | 09/23/2014 | Updated contractual training requirements for EU representative and consolidated training requirements for Tulip Medical Products employees. |
| 3 | 11/06/2014 | Updated training requirements for distributors and training record retention. Added 3 new QSPs. |
| 4 | 06/10/2015 | Added QSP 5.4-1 to training chart. |
| 5 | 02/26/2018 | Alteration of the forms and reference documents associated with the QSP. Removal of the training requirements chart and addition of Appendix A, which indicates the time requirements for training. Alteration of format and content to better encompass the most current training and qualification procedure utilized by Tulip Medical. |
| 6 | 08/28/2018 | Section 7.3 Training Requirements updated per new requirements specified by ISO 13485:2016. Added section on how to set up training records to 7.4. |
| 7 | 12/08/2018 | Form 6.2-1-5 Training Assessment, added Definition added, Training Facilitator – Person coordinating training tasks Section 7.3.2 added to “Training Assessment Forms are issued to each employee by the Training Facilitator using Form 6.2-1-5. The self-assessment scores collected by Form 6.2-1-5, are totaled by the Training Facilitator and these totals are used to measure training effectiveness.” |
| 8 | 04/30/2019 | Correction to Rev 6 on the first page. Correction are the section numbers. Section 6.3 Training Requirements updated per new requirements specified by ISO 13485:2016. Added section on how to set up training records to 6.4. |
| 8 | 04/30/2019 | Correction to Rev 7 on the first page. Correction are the section numbers. Section 6.3.2 added to “Training Assessment Forms are issued to each employee by the Training Facilitator using Form 6.2-1-5. |
| 8 | 04/30/2019 | Removal of the time requirements for training on Appendix A. |
| 8 | 04/30/2019 | Added Form 6.2-1-2 Training Record, to 6.3 Training Requirements, paragraph 3. |
| 8 | 04/30/2019 | Change to 6.3.4, first sentence to read: For temporary changes to procedures, the Director of Operations will approve a memo that details the temporary changes to a procedure, through completion of Form 4.2-3-3 Authorized Deviation. |
| 8 | 04/30/2019 | Change to 6.4.5, to read: Training records for other types of trainings (i.e., certifications, external training, etc.) are filed by the Executive Vice President (EVP), while RA and QA manage the electronic copies that are stored in the company’s server. |
| 8 | 04/30/2019 | Change to 7.0 Process Flow Chart |
| 8 | 04/30/2019 | Removal of Appendix A Time Requirements for Training |
| 9 | 05/17/2019 | Added Form 6.2-1-6 Training Self-Study to Reference Document |
| 10 | 10/07/2019 | Procedure did not have a “section” and therefore, all section will be moved 1 number down. Section 1.0 is Procedure. Section 2.0 Scope – added 6.2-1-2-1 Group Training Record and 6.2-1-6 Training Self-Study Section 3.0 Reference Documents. Removed Form 6.2-1-5 Training Assessment and all section referring to this form. Section 5.0 Abbreviation – added PM – Production Manager. Section 6.0 Responsibilities – updated Tulip Medical Personnel to Training Facilitator. Section 7.0 Procedure – 7.2 New Employee Orientation, 7.2.1 removed the line “For Production Employees…”, as all personnel will use the same forms.; 7.2.2 update the paragraph. 7.3 Training Requirements – 7.3.2, 7.3.3 update paragraph. Section 7.4 Training Record – 7.4.2, updated paragraph. 7.4.7, included taking a quiz to acknowledge training on a task. 8.0 Process Flow Chart, moved 7.0 into the box. |
| 11 | 02/10/2020 | 3.0 Reference Documents – Obsolete Form 6.2-1-3 Production Department Employee Training Plan 4.0 Definition – added ‘qualified’ person to Training Facilitator 6.0 Responsibilities – added ‘and WIs’ after training to QSP… 7.0 Procedure, section 7.3 Training Requirements update to VP of Operations; 2nd paragraph – removed ‘formal’ training; added a NOTE at 3rd paragraph regarding self-training; section 7.3.3 reformatted for clarity of training requirements; section 7.3.5 updated the deviation regarding training; 7.4 Training Records, section 7.4.1 removed -Training Plan; section 7.4.2 added ‘and training log’ after Training Record on first line and removed the ‘Note’; 7.4.5 updated the external training is filed with the DC; 7.5 Training Effectiveness – updated bullet #6 to include the Form 6.2-1-5 Training Assessment; 8.0 Training Levels – new section to include the explanation of the levels 9.0 Process Flow Chart – updated chart |
| 12 | 6/29/2020 | Title – added For Managers and Trainers Only 1.0 Purpose – Revised 2.0 Scope – Revised 3.0 Reference Documents – Added Notified Bodies and Form 6.2-1-1 Job Description Template, changed the title of Form 6.2-1-2 to Training Record, added RFD-032-1 Employee Training Information, and removed RFD-036 as each individual job descriptions will be in Form 6.2-1-1. 4.0 Definition – Revised Competency, Evaluation, and Qualification 5.0 Abbreviations – Included DCA and RFD 6.0 Responsibilities and Authorities – Revised all 7.0 General Information – Revision throughout this section. No revisions to the following: 7.3.1, 7.3.3, 7.6.2, 8.0 Process Flowchart – Revised to current procedures. |
| 13 | 1/11/2021 | 2.0 Scope – update last sentence: The training procedures apply to the introduction of new processes and methods, updated processes and methods, retraining, and continued verification of employee performance. 3.0 Reference Documents – added Form 5.6-1-1 Meeting Attendance Summary; Form 6.2-1-5 Certificate of Training DropBox references removed throughout the document 6.0 Responsibilities and Authorities – changed EVP and VP of Operations to Senior Management; All Managers, Directors, and VPS change to Senior Managers or Manager 7.0 General Information – p1. Reworded without DropBox reference. TRAINING LEVELS – updated first bullet for clarity. 7.3 Training Requirements – moved “Training is based on the following…” to 7.0 7.3.4 – reworded to clarify Authorized Deviation 7.5 – Training Competencies – reference only section 7.0(4); pass/fail chart – revamped to a pass/fail criteria 8.0 Process Flowchart – updated |
| 14 | 11/15/23 | -Rearrange the numbering in the paragraphs 1.0 Purpose and 2.0 Scope – sentence rewrite. 1.0 General Information Reword for clarification - Paragraph Rewrite in sec:1.4. Training is based on the following - Paragraph Rewrite in sec:1.5. Training Levels (QSP 4.2-3; Form 6.2-1-2) - Updated Paragraph in sec:1.6. Documents and Training Levels re-adjusted training levels for QM, QSP, and WI 5. Addition of verification of the qualifications of team members. Removed note of California AT will statement. -12.Removed Certificate Option and replaced it with Form 6.2-1-2 Training Record |
| 15 | 03/13/25 | 3.0 Included reference QSP 4.2-3 Change Control 5.0 Added CR abbreviation 6.0 Rephrased Department Manager responsibility for ongoing competency monitoring. 7.3 Added training levels 8.0 Added reinforced refresher training requirements, introduced mandatory retraining for identified competency gaps, and established a centralized training calendar. 9.1 Rephrased for document records 11. Revised Flowchart |
| 16 | 5/23/25 | Updated Section 3.0 Reference Documents to replace outdated MDD references with Regulation (EU) 2017/745 (MDR) to align with current EU regulatory requirements. Revised training program structure to include: - Mandatory refresher training for critical roles, tracked via centralized training calendar. - Biannual competency evaluations with defined criteria for hands-on and knowledge-based assessments. - Mandatory retraining within 30 days for any identified competency gaps, including documentation of corrective measures. Rephrased responsibilities in Section 6.0 for Department Managers regarding competency monitoring. Clarified Change Control follow-up training requirements in alignment with QSP 4.2-3. Updated Process Flowchart (Section 11) to reflect new training workflow and recordkeeping procedures. |

- PURPOSE
This procedure aims to improve the skills of Tulip employees and ensure efficient and satisfactory product quality.

- SCOPE
This procedure applies to all Tulip Medical personnel involved in activities affecting medical device quality and compliance. It ensures that employees receive appropriate and documented training during onboarding, routine operations, and process changes. The training covers initial, refresher, and remedial instruction, and includes evaluation of effectiveness to maintain compliance with MDR 2017/745 and ISO 13485:2016.

- REFERENCE DOCUMENTS

| 2021 | Tulip Medical Employee Handbook, section 2.3 |
| --- | --- |
| USA | FDA 21 CFR 820.20(b), 820.25 |
| Regulation (EU) 2017/745 on Medical Devices (MDR) |  |
| ISO 13485:2016: 5.1, 5.5.1, 5.5.2, 6.1, 6.2 |  |
| Australia | TG(MD)R Sch3 P1 1.4 (5)(b) |
| Brazil | RDC ANVISA 16/2013: 2.2.2, 2.2.3, 2.2.4, 2.3 |
| Canada | CMDR SOR/98-282 |
| Japan | MHLW MO169: 10, 15, 16, 21, 22, 23 |
| QSP 4.2-3 | Change Control |
| Form 6.2-1-1 | Job Description Template |
| Form 6.2-1-2 | Training Record |
| Form 6.2-1-4 | Training Record Log |
| RFD-008 | Training Requirements Chart |

- DEFINITIONS
Awareness – Having and showing realization, perception, or knowledge.

Competence – Ability to apply knowledge and skills to achieve intended results.

Evaluation – An act or instance of evaluation or appraising.

Qualification – Having the qualities, accomplishments, etc., that fit a person for some function, office, or the like.

Personnel Training - the organization has determined the necessary competencies for personnel performing work affecting product quality, provided appropriate training, and made personnel aware of the relevance and importance of their activities on product quality and achievement of the quality objectives. Ensure records of training and competencies are maintained. (ref: ISO13485:2016; RDC ANVISA 16/2013; MHLW MO169; C21 CFR 820.20; TG(MDR) R; CMDR SOR/98-282)

- ABBREVIATIONS

DCA – Document Control Administrator

RA – Regulatory Affairs

MR – Management Representative

PM – Production Manager

QSP – Quality Systems Procedure

RFD – Reference Document

WI – Work Instructions

CR – Change Request

- RESPONSIBILITIES AND AUTHORITIES

Management Representative (MR) is responsible for maintaining this procedure in its current state and ensuring that accurate records are maintained. He/she is also responsible for new team member orientation training, and hands-on training is done promptly.

The Department Manager or Regulatory is responsible for monitoring competency of Tulip Medical personnel to be trained in QSPs, WIs and complete their training paperwork.

Document Control Administrator’s (DCA) responsibilities include updating training logs, scheduling hands-on training, organizing new team member training folders, and maintaining personnel folders.

Senior Management decides whether to retain the team member if they cannot pass their training.

Senior Managers have the authority to modify or update procedures in accordance with the latest regulatory standards if required.

- GENERAL INFORMATION

  - Employees must complete Quality System Overview training and follow the RFD-008 Training Requirements Chart

  - All new hires must undergo training as outlined in Form 6.2-1-1 (Job Description Template) before performing unsupervised tasks assigned by MR/RA

  - Training is categorized into the following levels:

    - Training Level 1 (TL1): Read-only training for awareness purposes.

    - Training Level 2 (TL2): Hands-on or group training for procedural updates or new processes.

## TRAINING REQUIREMENTS

  - Annual refresher training is required for all critical roles, with sessions documented using Form 6.2-1-2 and tracked in the Training Records Log (Form 6.2-1-4).

  - Employees in critical roles must undergo competency evaluations every six months, including tests, hands-on assessments, or audits.

  - A centralized training calendar managed by the DCA will track deadlines and ensure adherence to refresher training schedules.

  - Change Control QSP 4.2-3 may require follow-up training requirements upon completion of CR if applicable

  - Mandatory retraining must occur within 30 days if competency gaps are unacceptable by PM/RA.

    - Retraining must be documented and include specific corrective measures.

## TRAINING RECORDS

  - Document training record to indicate the type of training (initial, refresher, remedial) and include evaluation results.

  - Records must be stored in the Training Records Log and retained for seven years post-employment by DCA.

## TRAINING EFFECTIVENESS

  - Monitoring Effectiveness:

    - Effectiveness is reviewed through audits, employee observations, and performance assessments.

    - Any gaps identified must be addressed with corrective actions, including retraining.

  - Training Compliance Audits:

    - Internal audits will include a review of training records and competency evaluations.

- PROCESS FLOWCHART