Tulip Medical

Quality System Procedure

QSP 8.2-3

Returns & Exchanges

Approvals

VP Regulatory Affairs	Date

Regulatory Affairs Coordinator	Date

Document Control Administrator	Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 6 | 04/18/2014 | Combine Form 8.2-2-2 Complaints and Form 8.2-3-1 RMA into a single form, Form 8.2-2-2 RMA/Complaints. |
| 7 | 07/27/2015 | Updated references to sales/inventory control software. |
| 8 | 12/29/2017 | Complaint and RMA forms separated. Procedure updated to reflect the one currently being used by Tulip Medical. References updated to reflect new forms and documents related to the Returns and Servicing process. |
| 9 | 06/20/2018 | Changed title in response to removal of ‘Servicing’ and addition of ‘Exchanges.’ Included information on Tulip’s Return Policy and removed portions that pertained to warranty periods, complaints, or servicing. Edits made to Sections 3.0, 4.0, 5.0 and 6.0 in response to the alterations made to the Procedure (7.0) to ensure the QSP captured the current process used by Tulip. RMAs and Complaints separated within the QSP. Flowchart updated to capture written procedure updates. |
| 10 | 09/11/2018 | Addition of ‘Date’ column to Revision table. Revised Document Control sections as needed. |
| 11 | 10/22/2019 | 7.0 Procedure – 7.1.3 added Date of ‘received or’ purchase; 7.1.3.1 changed to: Eligible customers with a product complaint are transferred to the CCS for an RMA creation.; 7.1.4 changed to The CCS creates the RMA; 7.1.4.1 changes to paragraph - An RMA is initiated by the CCS within the SOS Inventory System with final approval by the EVP.; 7.1.6.1 changed to: RMAs are located in SOS and can be retrieved as needed.; 8.0 Process Flow Chart - updated |
| 12 | 5/23/2025 | Updated reference section to include MDR 2017/745 Annex III and Annex XIV Part B to clarify alignment of return/complaint handling and trend analysis with MDR expectations. |

- PURPOSE

To describe the methods to be used to define, evaluate, and follow-up on product returns initiated by either a customer or the company for credit or exchange, and to evaluate this information for trend analysis.

- SCOPE

This Quality System Procedure pertains to all returned product received by Tulip Medical Products.

This procedure is to be followed by all Tulip Medical Products personnel whose job function dictates that they are in part responsible for handling return authorizations, repairs, and complaints. Comprehension of, and satisfactory expertise in, the material covered by this Quality System Procedure by each employee will be indicated through the completion of all applicable and appropriate training requirements, as is indicated by the completion of Form 6.2-1-2 Training Record in accordance with QSP 6.2-1 Training and Qualification.

- REFERENCE DOCUMENTS

EU MDR 2017/745, Annex III and Annex XIV, Part B – Technical Documentation and Post-Market Surveillance requirements related to complaint handling and product return evaluations.

| Form 6.2-1-2 | Training Record |
| --- | --- |
| Form 8.2-2-1 | RMA Form |
| Form 8.2-2-1-1 | RMA Log |
| Form 8.2-2-7 | Customer Feedback |
| Form 8.2-2-8 | Customer Feedback Log |
| QSP 4.2-2 | Control of Quality Records |
| QSP 6.2-1 | Training and Qualification |
| QSP 7.4-2 | Product Inspection |
| QSP 7.3-2 | Device Master Record |
| QSP 8.2-2 | Customer Feedback/Complaints |
| QSP 8.3-1 | Control of Nonconforming Product |
| QSP 8.5-1 | Corrective and Preventive Action |
| QSP 9.1-6 | Medical Device Reporting |
| WI 12 | Sales Order Generation |
| WI 13 | RMAs |

- DEFINITIONS

Client Care Specialist: An employee trained in the use of the sales/inventory control software who has read and understand this procedure and is capable of assisting a customer, client, or distributor with a product return.

Inquiry – A request by a customer for more information about the product manufactured for them.

Management Representative – The member of Tulip Medical whose cross-functional role encompasses the development and monitoring of the quality management system to ensure accuracy and effectiveness of all Quality System Procedures (QSPs).

RMA – Otherwise known as a ‘Return Merchandise Authorization.’ An RMA number is generated within the sales/inventory control software when a customer initiates the return of product(s) for credit, refund, or evaluation.

Return Policy: Customers have 30 days from the date of shipment to return any items they no longer want and/or need, as long as they are unused and in in the original packaging. For sterile items, they must be completely unopened. Tulip Medical does not accept requests for returns after the 30-day period, nor do they accept used items, previously sterilized disposable items that have been opened, or items that are missing components or no longer in their original packaging.

- ABBREVIATIONS

CCS – Client Care Specialist

EVP – Executive Vice President

MR – Management Representative

QA – Quality Assurance

QSP – Quality System Procedure

RA – Regulatory Affairs

RMA – Return Merchandise Authorization

- RESPONSIBILITIES

The Management Representative is responsible for maintaining this procedure in a current state, and for ensuring that Tulip Medical employees whose jobs encompass these procedures follow them accordingly. They are also responsible for the preparation of a monthly report showing all RMAs received for the past 12 months, to be provided to the EVP and Operations. These reports are summarized and rendered to Management monthly and during Management Reviews.

Client Care Specialists (CCS) are responsible for referring any customer(s) who wish to make a complaint or request to return product to Regulatory Affairs (RA).

The EVP and RA are responsible for receiving, controlling, and evaluating return servicing documentation, as well as initiating actions required by QSP 8.2-2 Customer Complaints for any customer complaint. Complaints may be initially received by anyone within the organization but must be directed to either the EVP or RA for formal documentation in accordance with QSP 8.2-2 Customer Complaints.

- PROCEDURE

  - Product return is initiated via the following methods

    - Customer feedback received that states or implies a customer would like to inquire about returning product(s). Additional information on the process involved with Customer Feedback can be found in QSP 8.2-2 Customer Feedback/Complaints.

    - Any member of the Sales Team or Management may receive a request by a customer to return items to Tulip Medical Products. The receiver of the initial request will collect preliminary information from the customer. This preliminary information includes the following:

      - Customer information (ID, Contact name, phone number and/or e-mail address)

      - Product information (Reference number, quantity and date of purchase)

    - Date of receipt or purchase is used to determine eligibility for an RMA per Tulip’s 30-Day Return Policy.

      - Eligible customers with a product complaint are transferred to the CCS for an RMA creation.  Ineligible customers are reminded of the policy.

    - The CCS creates the RMA.

      - An RMA is initiated by the CCS within the SOS Inventory System with final approval by the EVP.  A copy of the RMA issued within SOS will be provided to the customer, along with instructions on how to return the product to Tulip Medical. For more detailed information on how to perform this process, see WI 13 RMAs.

      - RMAs are commonly performed for one of two options:

        - Refund – Specify that the customer is requesting a refund to the invoice from which the RMA is created. The refund total is the sum total of the cost of the item(s) on that invoice.

        - Exchange – Customers may request that the item(s) being returned be exchanged with a different item. Exchanges require the creation of a new Sales Order, per the procedure outlined in WI 12 Sales Order Generation. Additional information can be found in WI 13 RMAs.

    - Receive the product

      - When the product is returned to Tulip Medical, the MR or RA will inspect the items to ensure that they meet the requirements outlined for return (unopened/unused, in original packaging), and that the items match those listed on the RMA. This includes matching reference numbers, quantities and lot/serial numbers.

      - Accepted returns will be received and closed via the process outlined in WI 13 RMAs.

      - Rejected returns will be held by the MR or RA pending additional contact with the customer to coordinate an acceptable solution. Returns may be rejected for the following reasons:

        - Product is used, opened, and/or not in its original packaging.

        - Product does not match the product specified on the RMA (regarding reference number, quantity and/or lot/serial number(s).

    - Filing and Analyzing Trends

      - RMAs are located in SOS and can be retrieved as needed.

      - MR will analyze trends in RMAs and provide the MR with a report at the conclusion of each calendar month. Additionally, MR will assist the MR in summarizing the data and trends for presentation during Management Review Meetings.

      - The MR and Operations will collaborate together to complete any Corrective and Preventive Actions that may be required for trends found, including the performance of a root cause analysis and investigation, per QSP 8.5-1 Corrective and Preventive Action.

- PROCESS FLOWCHART

Refer to QSP 8.2-2 Customer Feedback/Complaint

If RMA is initiated via a Complaint

7.1 Product Return is Initiated

No

7.1.6 Filing and Analyzing Trend

7.1.4.2 Refund or Exchange

Inform Customer

Yes

7.1.5.3 Rejected Returns

7.1.5 Returned product received and inspected

7.1.4 CCS creates the RMA

in SOS