Tulip Medical

Quality System Procedure

QSP 5.6-1: Management Review

Approvals

V.P Regulatory Affairs						Date

Regulatory Affairs Coordinator					Date

Document Control Administrator			                 Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 0 | 04/23/2013 | Released documentation – Implementation of document for compliance to FDA QSR Subpart B 820.20 and ISO 13485:2003 5.6. |
| 1 | 09/18/2014 | Updated references to ISO 13485:2012 |
| 2 | 11/06/2014 | Updated format to have Technical Files and Clinical Evaluation Reports evaluated as part of Management Review. |
| 3 | 10/30/2017 | Updated to provide improved clarification of the documents, responsibilities, and personnel involved in Management Review meetings, including rationale for why the company holds Management Review meetings. |
| 4 | 09/26/2018 | Reformatted document. Included new signature blocks. |
| 5 | 03/17/2020 | Updates reference list and references within the document. |
| 6 | 10/21/2020 | Switched Form number; Form 5.6-1-1 to Form 5.6-2 Management Review Meeting Minutes and Action List |
| 7 | 03/24/25 | 3.0 Added RFD-089 7.2 Removed repetition of “Refer to” for all QSP referenced in each subsection 7.2.12 Added Note: If the Quality Policy is updated, complete Change Request Form 4.2-1-2 to document all affected records, including RFD 089 and the Tulip Quality Manual. Ensure this topic is included as an agenda item for the Management Review Meeting. 8.0 Revised Flowchart |
| 8 | 05/23/25 | 1.0 Rephrased purpose for MDR compliance 3.0 Updated to MDR Regulation from MDD |
| 9 | 07/07/25 | 3.0 Added Form 4.2-1-2 as mentioned in the QSP 5.0 Added PRRC to abbreviations 6.0 Updated responsibilities from MR to PRRC to include remainder of QSP update 7.2.10 Updated to require review and documentation of all regulatory changes from applicable jurisdictions, even if no impact to the QMS is identified |

- PURPOSE

To ensure top management performs a systematic review of the Quality Management System (QMS) in accordance with the requirements outlined in the Quality Manual and Regulation (EU) 2017/745, specifically Annex IX and Annex I, to verify that the QMS remains suitable, adequate, and effective. This Management Review shall evaluate the QMS’s performance in meeting regulatory and customer requirements, identify opportunities for improvement, and determine any necessary changes to the QMS, resources, or strategic direction to maintain compliance with applicable regulations and enhance product quality and safety.

- SCOPE

This Quality System Procedure is to be followed by all Tulip Medical Products personnel. Comprehension of, and satisfactory expertise in, the material covered by this Quality System Procedure by each employee will be indicated through the completion of all applicable and appropriate training requirements, as is indicated by the completion of Form 6.2-1-2 Training Record in accordance with QSP 6.2-1 Training and Qualification.

- REFERENCE DOCUMENTS

| Quality Manual |  |
| --- | --- |
| Regulation (EU) 2017/745 on Medical Devices (MDR) |  |
| Form 4.2-1-2 | Change Request |
| Form 5.6-2 | Management Review Meeting Minutes and Action List |
| Form 6.2-1-2 | Training Record |
| QSP 4.2-1 | Document Control |
| QSP 4.2-2 | Control of Quality Records |
| QSP 4.2-3 | Change Control |
| QSP 6.2-1 | Training and Qualification |
| QSP 7.3-3 | Risk Management |
| QSP 7.4-1 | Purchasing and Supplier Evaluations |
| QSP 8.2-1 | Quality Audits |
| QSP 8.2-2 | Customer Feedback - Complaints |
| QSP 8.3-1 | Control of Nonconforming Product |
| QSP 8.4-1 | Testing and Measurement Analysis |
| QSP 8.5-1 | Corrective and Preventive Action |
| QSP 9.1-1 | Conduct for FDA and Notified Body Audits |
| QSP 9.1-3 | Development of Technical Files |
| QSP 9.1-6 | Medical Device Reporting |
| RFD-089 | TULIP MEDICAL QUALITY POLICY |

- DEFINITIONS

Management Representative – The member of Tulip Medical whose cross-functional role encompasses the development and monitoring of the quality management system to ensure accuracy and effectiveness of all Quality System Procedures (ASPs).

Management Team– President/CEO, Person Responsible for Regulatory Compliance (PRRC), Executive Vice President (EVP), Vice President of Sales, and Vice President of Operations.

- ABBREVIATIONS

CAPA – Corrective and Preventive Action

EVP – Executive Vice President

PRRC – Person Responsible for Regulatory Compliance

- RESPONSIBILITIES and AUTHORITIES

PRRC is responsible for maintaining this procedure in a current state ensuring that the Quality Management System is systematically and periodically reviewed. By scheduling, coordinating, and conducting the Management Review meetings with the President as the chairperson of the meeting and ensuring that accurate records are maintained

Management Team must have management reviews of the Quality System as described in this procedure.

PRRC and/or Operations and any other Tulip Medical personnel as needed, must accumulate and present quality data in a presentable manner to the Management Team using data analysis. See QSP 8.4-1 Testing and Measurement Analysis for additional information.

- PROCEDURE

  - Management Review Meeting Specifications

    - The Management Review meeting will be conducted a minimum of twice (2x) per calendar year to review quality performance and the Quality Management System.

Note: 	The decision for a minimum of two Management Review meetings per calendar year was decided upon to provide Tulip Medical with the opportunity to divide status from review. The first Management Review meeting will be held early in the year to provide the opportunity to determine the status of where the company is at and what needs to be done.

Note:	In response to special conditions, or significant changes to the Quality System, additional unscheduled management reviews may also be conducted.

    - The President/CEO and the PRRC must attend all Management Review meetings. Other personnel may attend as deemed appropriate by the Management Team.

    - The Management Team may or may not also decide to have more frequent, informal reviews of the Quality Management System. These informal reviews do not need to cover all of the topics addressed in this procedure and may be largely or completely undocumented, per the decision of the PRRC.

  - Required Topics to be Reviewed at Each Management Review Meeting

    - Results of Audits – This includes internal and external (Notified Body and/or FDA) audit results and trends QSP 8.2-1

    - Customer Feedback– This includes complaints, post market surveillance and improvement of product related to customer requirements QSP 8.2-2

    - Reporting to Regulatory Authorities – This includes Medical Device reports and vigilance reporting, recall and field actions QSP 9.1-6

    - Monitoring and Measurement of Processes – This includes Performance and Product Conformity / Supplier Performance information such as rates of product nonconformities, on-time delivery performance, as well as supplier quality performance and evaluation QSP 7.4-1

    - Monitoring and Measurement of Product – nonconforming material trends (rework trends, concession trends, scrapping trends, reject trends); First Pass Yields (FPY); Supplier performance trends (SCARs), disqualified suppliers, Verification that supplier RE-evaluations are occurring QSP 8.3-1

    - Status of Outstanding Corrective and Preventive Actions QSP 8.5-1

    - Follow-Up Actions from Previous Management Review Meetings

    - Changes That Could Affect the Quality Management System – This could include changes such as moving to a new location, the introduction of new product lines, significant addition or reduction of personnel, etc.

    - Recommendations for Improvement– This includes improvements needed to maintain the effectiveness of the Quality Management System and its processes QSP 4.2-3

    - New or Revised Regulatory Requirements – Review all new or updated regulatory requirements (e.g., FDA, CMDR, MDR, TGA, ANVISA, MLHW, etc.) to confirm if any changes could impact Tulip’s QMS. Document all changes reviewed, even if they have no impact for compliance QSP 9.1-1

    - Risk Management – This includes risk management activities related to product, adverse events, complaints, and design changes. Note in the meeting minutes if any changes are needed to the risk management plans based on design changes and/or new products 7.3-3

    - Quality Policy – Review of continuing suitability and need for any changes to the Quality Policy. Note in the meeting minutes if the policy needs to be revised, or if it is suitable for continued use.

Note:	If the Quality Policy is updated, complete Change Request Form 4.2-1-2 to document all affected records, including RFD 089 and the Tulip Quality Manual. Ensure this update is listed as an agenda item for the Management Review Meeting.

    - Technical File/Clinical Evaluation Reports – Review the Reusable and Disposable Technical Files to see if a change is required. Note in the meeting minutes if the Technical Files or Clinical Evaluation needs to be revised, or if it is suitable for continued use QSP 9.1-3

    - Quality Objectives – Review of the new Quality Objectives

    - Resource Needs – This includes the need for any additional personnel, equipment, or facilities.

    - Other Items – as deemed necessary

    - Conclusions – Assessment of the Quality Management System’s continuing suitability, adequacy and effectiveness; improvements needed to maintain the suitability, adequacy and effectiveness of the QMS and its processes; improvements of the product related customer requirements; changes needed to respond to applicable new or revised regulatory requirements; resource needs.

    - Note in the meeting minutes the assessment of the Quality Management System.

  - Preparing for the Management Review Meeting

    - The PRRC and/or Operations assemble the information, along with the assistance of other personnel as necessary, into each section in a presentable manner.

    - Support data can be presented in text or chart format. Charts or graphs can be helpful for showing trends or comparisons.

  - Meeting Minutes

Note:	Use Form 5.6-2 Management Review Meeting Minutes and Action Lists

    - Each Management Review Meeting must be documented by the taking of formal minutes of the meeting on Form 5.6-2 Management Review Meeting Minutes and Action List, (refer to QSP 4.2-1 Document Control and QSP 4.2-2 Control of Quality Records).

    - These minutes are to include the following information:

- Date of the meeting

- Personnel attendees

- Notes – including any decisions and/or actions related to the topics discussed as listed above

- Supporting documentation reviewed in the meeting should either be attached or referenced

- Action items, which include the task to be performed, target date(s) of completion and the responsible individual

- Action items will be tracked until complete. Closure will be documented.

Note:	In some cases, actions may result in issuing a CAPA in accordance with QSP 8.5-1 Corrective and Preventive Action.

- PROCESS FLOWCHART

7.1 Schedule Review Meeting

Record and file completed form

7.4 Use Form 5.6-2 to document meeting minutes

7.3 Prepare for Meeting

7.2 Review Required Topics