Tulip Medical

Quality System Procedure

QSP 5.6-2

QMS Risk Management Plan

Approvals

VP Regulatory Affairs	Date

Regulatory Affairs Coordinator	Date

Document Control Administrator	Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 0 | 10/31/2018 | Initial release. |
| 1 | 5/23/2025 | Rephrased terminology throughout the document from “Risk/Benefit” to “Benefit-risk” to align with the wording used in EU MDR 2017/745, Annex I, Chapter I, Section 1. |

# Purpose

The plan defines the activities and deliverables for a risk-based approach for the control of the Quality Management System processes to identify hazards, estimate and evaluate associated risks, control risk, and monitor the effectiveness of the implemented controls for the QMS.

The plan describes the risk management activities to be conducted based on Analysis of Data process outputs (CAPA, Complaint, Nonconformance Reports, MDR, Vigilance, etc.) if such data indicate a change in the potential for patient safety risk than had previously been determined.

# Scope

The Plan implements Risk Management stated in the Quality Manual. The plan ensures the control of its quality management system processes through a documented risk management process including, but not limited to, the following elements:

# Hazard Identification

# Risk Analysis

# Risk Evaluation

# Risk Control

# Residual Risk Assessment

# Benefit-risk Analysis

# Review of Feedback on the QMS

Risk analysis is performed to identify the risks of a QMS process based on the procedures and its elements, and to estimate the risks associated with each procedural element. Risk evaluation and assessment is conducted to determine whether control measures are needed to reduce each risk to an acceptable level.

Risk control measures to be introduced as applicable. The QMS Risk Management File is then maintained and reviewed periodically to assess feedback from sources such as quality data trending, audit findings and management review to determine the need for additional risk management controls.

# References

| Document Number | Title |
| --- | --- |
| 21 CFR 820 | FDA Quality System Regulation (QSR) |
| ISO 13485:2016 | Medical devices - Quality Management System – requirements for regulatory purposes |
| EN ISO 14971:2019 | Medical devices – Application of risk management to medical devices |
| QM | Quality Manual |
| QSP 4.2-1 | Document Control |
| QSP 4.2-2 | Control of Quality Records |
| QSP 8.2-1 | Quality Audits |
| RSK-10 | QMS Hazard Analysis Matrix |
| RSK-11 | QMS Risk Management Report |

# Responsibility

| Department /Personnel | Responsibility |
| --- | --- |
| Top Management Note: Senior managers with the authority to establish or make changes to the quality system requirements, or to a product’s design procedures. | - Management of the Risk Management procedure and process, - Provide adequate resources, including trained personnel and infrastructure to perform the Risk Management activities, - Approval of the overall RISK for all QMS processes, - Review the risk management activities at Quality System Management Reviews, when appropriate. |
| Quality Assurance | QA is responsible for implementing the QMS Risk Management Plan. |
| QMS Risk Management team | QMS Risk Management team is responsible for completing the Hazard Analysis for the QMS process, in accordance with quality management system requirements. Note: Risk Management Team members (cross functional) have the knowledge and experience appropriate to the tasks assigned to them. This includes knowledge and experience of the particular QMS process and procedures, its use, and/or the risk management techniques. Records of their qualification are maintained. |
| Quality Assurance | QA is responsible for using appropriate QMS feedback data and data analysis and initiating updates to the Risk Management file. |

# Abbreviations, And Definitions

RFD-031 Abbreviations And Definitions

# Procedure

# QA coordinates with a cross-functional team to define and document a risk management file for the QMS process. The Risk Management File is maintained using the Document Control Process.

# The QMS Risk Management Plan includes the following:

# Scope of the plan – the risk management process applies to the entire QMS process and applicable procedures.

# Allocation of tasks – QA leads the risk analysis activities and serve as the QMS risk management team lead.

# Review of Risk Management activities: Risk management review points for the project and deliverables at those reviews is defined by this procedure.

# Criteria for risk acceptability –The following criteria for risk acceptance:

Table 1: Criteria for Risk Acceptability

| Risk Level | Acceptability |
| --- | --- |
| 1 | Broadly acceptable, risk has been reduced as far as possible (AFAP). |
| 2 | Risk is unacceptable and should be reduced as far as possible (AFAP); technical practicability is balanced against benefit-risks and risk is reduced even at considerable costs. |
| 3 | Intolerable, risk is unacceptable and must be reduced. |

# Verification of Risk Control Verification activities include:

# Verification of the implementation of each risk control measure and

# Verification of the effectiveness of the risk control measure.

# Activities related to the collection and review of relevant information regarding feedback on process performance which includes the review of feedback from sources such as quality data trending, audit findings and management review to determine the need for additional risk management.

# Risk Analysis will be performed for each QMS process. The risk analysis is documented on RSK-10 and RSK-11, and is reviewed and updated as appropriate as the procedure or processes are revised or if feedback indicates that the risk analysis is incomplete or inaccurate. The risk analysis is documented and maintained in the QMS Risk Management File in accordance with the Document Control Process.

# A summary is reported as part of the RSK-11, A QMS Risk Management Report. The report documents the results and conclusions of the risk analysis, as well as any actions which are required as a result of the risk activities.

# The QMS Risk Management File will include the following:

# An identification of the person(s) and organization that carried out the Risk Analysis. This should align with the Risk Management Plan.

# A description and identification of the QMS processes including the identification of documented procedures and forms including revision levels.

# The scope and date of the risk analysis – The scope should describe what portions of the procedure or process was reviewed in the case of new processes or changes.

# An identification of the known and foreseeable hazards associated with the processes. This will include:

# Hazards resulting from a reasonably foreseeable sequences or combinations of events.

# Hazards posed by interpretation of (mis)information being displayed, relayed or otherwise transmitted from the procedure or process.

# Hazards resulting from the implementation of the process or procedure.

# A documentation of the abnormal sequence of events that could result in hazards unless otherwise controlled or mitigated.

# An identification and rating of the harm that may result from the hazards associated with the QMS process or procedure. This will include:

# Linkage of harm to causative hazards.

# A rating of the severity of harm. Unless justified and documented in the Risk Management file, all QMS processes will utilize the following severity ratings:

Table 2: Severity of Harm Ratings

| Severity of Harm | Ranking/Definition |
| --- | --- |
| Extremely High - 6 | 10 – Failure could mean death to the user, patient or an employee |
| High - 5 | 9 – Failure would result in systemic violation of regulations, Failure makes the product/process inoperable or unserviceable 8 – Failure would result in significant irreversible harm to user, patient or employee |
| Moderate - 4 | 7 – Failure would result in significant but reversible harm to user, patient or employee 6 – Failure would result in minor injury or significant customer dissatisfaction 5 – Failure would cause partial breakdown in the product / process, Failure’s impact on product/process performance would be sufficient to generate complaints |
| Low - 2 | 4 – Failure would result in minor performance loss 3 – Failure is a small nuisance but does not result in performance loss |
| Remote - 1 | 2 – Failure may have such minor consequences this is unlikely to be apparent 1 – Failures would not be noticed or affect the product/process |

# A Risk Estimation will be prepared for each QMS element or process. The risk estimation is updated as changes are made to the process, or the procedure is changed, or if feedback indicates that the QMS Hazard Analysis is incomplete or inaccurate. The Risk Estimation is documented and maintained in the Risk Management File in accordance with the Document Control Process. The Risk Estimation includes the following:

# An estimation of the overall probability of harm. Unless justified and documented in the Risk Management file, all QMS processes will utilize the following probability of Harm ratings:

Table 3: Typical Likelihood of Occurrence of Harm Ratings

| Likelihood of Occurrence | Definition | Frequency |
| --- | --- | --- |
| Certain | Failure may occur every day | > 95% chance of occurrence |
| Frequent | Failure may occur every week | 76% to 94% chance of occurrence |
| Probable | Failure may occur several times a month | 51% to 75% chance of occurrence |
| Occasional | Failure may occur once a month | 26% to 50% chance of occurrence |
| Remote | Failure may occur once in 1-2 years | 5% to 25% chance of occurrence |
| Improbable | Failure may occur once in 5 or more years | < 5% chance of occurrence |

# Unless justified and documented in the risk management file, the risk estimate for all QMS processes will utilize the following matrix for determination of a risk rating based on each hazard and the harm it may produce.

Table 4: Risk Rating

| Likelihood of Occurrence |  | Severity |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Remote |  | Low |  | Moderate |  |  | High |  | Very High |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| A - Certain | >95% | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 |
| B - Frequent | 76% to 94% | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 |
| C - Probable | 51% to 75% | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 |
| D - Occasional | 26% to 50% | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 |
| E - Remote | 5% to 25% | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 |
| F - Improbable | < 5% | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 |

Following residual risk evaluation, the risk ratings are identified as follows:

Green – Risk is Acceptable

Yellow – Risk is reduced As Far As Possible

Red – Risk is Unacceptable

# Risk Evaluation – In accordance with the criteria established in the risk management plan, the initial risk acceptability is determined.

# Risk Control – Risk control measures are applied to all risks to reduce risks as far as possible.

# Risk Control Measures are documented and maintained in the risk management file in accordance with the document control process. This documentation will include a description of the hazard or hazardous situation and the risk control measures identified for each.

# Each Risk Control Measure is identified as verifiable requirement(s) to 1) ensure proper implementation and 2) ensure that the control measure reduces the risk.

# Residual Risk Evaluation – After implementation of Risk Control Measure(s), the Risk Estimation for the product as described in Section 7.4 is repeated. Due to the application of Risk Control Measure(s), the probability of harm associated with entries in the Risk Analysis would be expected to be reduced. The risk that remains after Risk Control Measure(s) application is the residual risk.

# Using the risk acceptability criteria established in the Risk Management Plan, the acceptability of each residual risk will be determined. All unacceptable and undesirable residual risk requires additional risk control analysis and evaluation.

# Any risk identified as reduced As Far As Possible (See Table 4) is acceptable if the risk is outweighed by the benefit. A documented justification is included in the risk analysis.

# Benefit-risk Analysis – Benefit-risk analysis is performed to determine if benefit outweighs the residual risk. If any residual risk is judged unacceptable or undesirable (using the criteria established in the risk management plan) and further risk control is not possible, additional risk controls must be implemented.

# If the review does not support the conclusion that the benefits outweigh the residual risk, then the risk remains unacceptable.

# Risks Arising from Risk Control Measures - If any new hazards or hazardous situations are introduced or the estimated risks for previously identified hazardous situations are affected as an effect of any risk control measure(s) alone or in combination, then risk estimation, evaluation, control and analysis as described in Section 7.4 to 7.9 is repeated for those new hazards or hazardous situations.

# The completeness of risk control is conducted to evaluate the risks of all hazards to ensure that no hazard was left out.

# An overall product Benefit-risk Analysis must be conducted, weighing all risks combined against the benefit. The results of this analysis will appear in the Risk Management Report.

# Risk Management Review and Report – The QMS Process Risk Management team performs a risk review (or series of Reviews) of items entered into the risk management file to ensure that the Risk Management plan has been appropriately implemented. This review and its recommendations will be documented as the Risk Management Report and maintained in the Risk Management File in accordance with the Document Control Process. The review(s) will occur as prescribed in the risk management plan and will cover the following items:

# Execution of risk management activities relative to the Risk Management Plan.

# The Risk Analysis as described in Section 6.3.

# The Risk Estimation as described in Section 6.6.

# The Risk Evaluation as described in Section 6.7.

# The Risk Control as described in Section 6.8.

# The Residual Risk Evaluation as described in Section 6.9.

# The verification results pertaining to risk control measure(s) requirements, where applicable.

# The verification results pertaining to the requirements for effectiveness of risk control measures, where applicable.

# Benefit-risk Analysis as described in 6.9.3

# The methods in place to obtain relevant feedback information pertaining to process. (Ref: Section 6.12).

# Evaluation of overall acceptability – After completion of the review(s), the QMS process risk management team provides a recommendation that the QMS process meets the risk acceptability criteria; or the QMS process risk management team concludes that the risk /benefit analysis of the QMS process supports the conclusion that the process benefits outweigh the overall residual risk. In either case, a conclusion that all risks have been reduced as far as possible is made and documented.  This risk management file becomes a quality record and is managed in accordance with the document control process.

# Risk Management File – Risk management information will be managed in accordance with the document control process.

# Periodic QMS Risk Management Review.

# Feedback from sources such as quality data trending, audit findings and management review provide feedback to determine the need for additional risk management. Information from these sources are evaluated for possible relevance to the QMS risk analysis, especially the following:

# If previously unrecognized hazards or hazardous situations are present

# -OR-

# If the estimated risk(s) arising from a hazardous situation is/are no longer acceptable.

# Any previously unrecognized risk is subjected to risk analysis, risk evaluation, risk control and evaluation of overall risk acceptability. The risk management report and risk management file is updated with the results of this activity.

# If estimated risks are found to be no longer acceptable, the risk is reviewed and the risk analysis, risk evaluation, risk control and evaluation of overall risk acceptability is reviewed and updated. The risk management report and risk management file is updated with the results of this activity.

# Records of all product, process, and QMS data analysis are maintained as per QSP 4.2-2 Control of Quality Records.