Tulip Medical

Quality System Procedure

QSP 7.3-4: Process Control

Approvals

VP Regulatory Affairs	Date

Regulatory Affairs Coordinator	Date

Document Control Administrator	Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 0 | 11/02/2014 | Initial release. |
| 1 | 02/10/2015 | Updated 6.2.3 and 6.4. |
| 2 | 10/30/2018 | Updated to add form 7.3-4-4 Installation Qualification. Revised detail to match all current forms and processes used. Added date section to the revision history table. |
| 3 | 7/15/2020 | 3.0 Reference Documents – added Forms that are included but not previously entered, Form 7.5-1-1, 7.4-2-1, 7.5-1-2, and 7.1-1-1. Added QSP 5.4-1 which was not previously included. Removed QSP 7.3-3 as this was not mentioned in this document. Corrected QSP 7.3-3 to QSP 7.4-5. 5.0 Abbreviations – added DC – Document Control 6.0 Responsibilities – added ‘and Authorities’; combined the responsibilities of the Production Manager; changed Operations to Document Control. 7.0 Procedures – 7.2.2 Documentation – corrected QSP 6.3-1 to QSP 6.2-1; removed 4th paragraph regarding production manager responsibilities and move to Responsibilities and Authorities; 7.3 Production Controls – Updated 1st paragraph last sentence; 7.3.1 Documentation – Reorganized the sentence structures and formulated the paragraphs; accordingly, 7.4 Infrastructure – rewrite; 7.5.2 Functioning – updated reporting to; 7.6.1 Environmental Conditions – removed 3rd paragraph regarding the testing of the Disposable Production Room annual. We no longer use this room for disposable assembly.; removed the last paragraph as this is not essential in this QSP. |
| 4 | 5/23/2025 | Added a reference statement to align with Regulation (EU) 2017/745 (MDR) in the "Reference Documents" section. This update clarifies that the procedure complies with MDR requirements, specifically Annex I – General Safety and Performance Requirements and Annex IX – Quality Management System. No other content changes made. |

- PURPOSE

This document describes how production activities for controlled parts are planned and controlled at Tulip Medical Products.  Includes how the process controls maintained through having adequate infrastructure, a managed work environment, and implementing process controls and methods to ensure product conforms to its specifications.

- SCOPE

This procedure applies to production activities, equipment installation, and servicing processes directly associated with controlled parts manufactured by Tulip Medical Products.

- REFERENCE DOCUMENTS

This procedure aligns with the requirements of Regulation (EU) 2017/745 on medical devices (MDR), including Annex I – General Safety and Performance Requirements and Annex IX – Quality Management System.

| Form 6.2-1-2 | Training Record |
| --- | --- |
| Form 7.1-1-1 | Project Control Form |
| Form 7.3-4-4 | Installation Qualification |
| Form 7.4-2-1 | Receiving Inspection |
| Form 7.5-1-1 | Final Inspection Forms – All Accessories-Kits-Sets and Single-Use Cannulas |
| Form 7.5-1-2 | Final Inspection Form – Reusable Cannulas |
| QSP 4.2-1 | Document Control |
| QSP 4.2-2 | Control of Quality Records |
| QSP 5.4-1 | Quality Planning |
| QSP 6.2-1 | Training and Qualification |
| QSP 6.4-1 | Cleaning Procedure Assembly Areas |
| QSP 7.4-5 | Process Validation |
| QSP 7.6-1 | Control of Measurement Equipment |
| QSP 8.3-1 | Control of Non-Conforming Product |
| QSP 8.5-1 | Corrective and Preventive Action |
| All Production Work Instructions |  |

- DEFINITIONS

- Controlled Part:  A part that is reviewed, approved, and handled per the Quality System (i.e., it is in Document Control as per this procedure).

- Process Control: A predictable process that meets product specifications.

- Process Validation: Establishing by objective evidence that the process consistently produces a result or product meeting its predetermined requirements.

- Quality/Project Plan:  A document setting out the specific quality practices, resources, and sequence of activities relevant to a particular product, process, project, or contract.

- Sales Order:  A document used to control and record the parts and methods used in the manufacture, rework or repair of parts by Tulip Medical Products.

- ABBREVIATIONS

DC – Document Control

MR – Management Representative

PM – Production Manager

QA – Quality Assurance

SO – Sales Order

WI – Work Instructions

- RESPONSIBILITIES and AUTHORIZATIONS

The Management Representative (MR) is responsible for ensuring suitable production equipment and an appropriate working environment.

The Production Manager (PM) is responsible for:

a. 	issuing the daily work schedule in the Production Department and ensuring personnel are qualified and trained to perform assigned tasks;

b.  issue Work Instructions (WI) and to select appropriate process control methods for a particular process;

c. 	prepare the Quality/Project Plan, reviewing production records for Product Release activities (e.g., Sales Orders, Device History Records, and all other production activities), and monitoring process control activities (i.e., statistical analysis); and

d.	responsible for analyzing the overall data to determine the area for quality improvement.

The Quality Assurance (QA) is responsible and authorized to review and sign off on the finished product for reusables and single-use and accept or reject the finished items.

Document Control is responsible for maintaining all training records, work instructions, and production records (e.g., Work Orders, Device History Records, etc.) according to QSP 4.2-2 Control of Quality Records.

- PROCEDURE

Note: Production activities at Tulip Medical Products include planning and controlling all manufacturing aspects, including materials, processes, equipment, people, and the production environment.

Note: Production records are maintained by the Document Control Administrator (DCA) and retained for a period defined in QSP 4.2-2 Control of Quality Records.

  - Quality Plan

The Quality Plan is created according to QSP 5.4-1 Quality Planning. The Quality Plan organizes a logical and economical approach to implementing new production processes, product design revisions, and equipment installation.

The Quality Plan prepared by the Production Manager captures the product requirements and hazard mitigations that are related to establishing process control and inspection criteria.  The information is utilized when planning inspection steps and standards, as well as Quality Assurance monitoring activities to ensure that product quality consistently meets the determined specifications and, ultimately, assure product quality.

  - Process Control and Monitoring

    - Methods

According to the Quality Plan, the controls of production activities are specific to a product.  Process controls may involve using the following ways:

Controlled Parts

Controlled Production Work Instructions,

Operator training or certification

Process equipment operation qualification, calibration, and maintenance program,

Review and approval of manufacturing results, and

Continuous process monitoring and statistical analysis.

Production Manager is responsible for selecting appropriate process control methods for particular processes.  When there is an increasing number of rejects or non-conformances during manufacturing, inspection is tightened, thereby increasing the samples to be tested. Regular inspections resume when several consecutive lots are acceptable.

Parts found nonconforming are segregated and recorded according to QSP 8.3-1 Control of Non-Conforming Product.

The number of samples for inspections for those operations where 100% inspection is not required is defined. The Quality Plan establishes the percentage of allowable rejects for each process.

    - Documentation

Review QSP 6.2-1 Training and Qualification in production activities.

The methods used for process control and their results are documented and retained according to QSP 4.2-2 Control of Quality Records.

The documentation and records can be in WI's, equipment setting checklists, equipment and process Operation Qualification (OQ) reports, process monitoring charts, statistical analysis reports, operator training records, and certificates.

    - Process Validation

Validate the process output if it cannot be verified.  Production Manager identifies which processes require validation when preparing the Process Validation Master Plan.  QSP 7.4-5 Process Validation defines process validation methods and instructs how to develop the Process Validation Master Plan.

  - Production Controls

Disposable and Reusable Cannula production will be managed and coordinated to meet sales orders.  The PM will communicate verbally to the Production Department personnel for batch production or as SO are received.

Issue an RMA for returns with an exchange or a complaint.

    - Documentation

Use Form 7.5-1-1 Final Inspection Form – All Accessories-Kits-Sets and Single-Use Cannulas when assembling single-use cannulas, accessories, and kits.

Form 7.5-1-2 Final Inspection Form – Reusable Cannulas is used to document material(s) used to produce cannulas.  Lot Numbers are assigned at the time of assembly and documented on this form as well.

Use Form 7.4-2-1 Receiving Inspection to document receipt of components from outside vendors.

Lot numbers will be assigned based on the Purchase Order number for the receipt of items, the Sales Order number for Reusable Cannulas that have to be manufactured for the SO, or the date of the production is for inventory (i.e., Lot 103014A).

Completed forms are maintained by Document Control as a Quality Record after products are inspected. For storage location and retention period, review QSP 4.2-2 Control of Quality Records.

    - Work Instructions (WIs)

All production personnel is trained by the Work Instructions (WI's).  Work instructions explain how to operate production equipment and machines, define what steps are required to perform the operation and inspection, and warn against safety hazards, etc.

    - Product Release

Product release activities include inspecting and shipping the product to and from the sterilizers, lot verification testing, and product release for distribution.  The DCA maintains all sterilization reports.

  - Infrastructure

Management ensures adequate space to facilitate orderly handling of parts and prevent mixing between incoming materials, in-process lots, nonconforming materials, finished devices, manufacturing equipment, and all documentation.  Based on the disposable products undergoing sterilization and packaging at another facility, Tulip Medical has no requirement to have a certified cleanroom.  The Disposable Production Area is a controlled production area for disposable production only.

  - Production Equipment

Measuring and test equipment is calibrated, identified, and maintained according to QSP 7.6-1 Control of Measurement Equipment.

    - Maintenance

The DCA maintains technical data sheets and maintenance manuals for production equipment.  Tulip uses the manufacturer's recommendation to maintain equipment.

All maintenance and repair records are documented on Form 7.3-4-4 Installation Qualification.

All maintenance and repair records are kept with the equipment file and are the responsibility of the DCA.

    - Functioning

Performance and accuracy of production equipment are continuously monitored through regular inspection of the items processed by the equipment.

Operators are to report any perceived equipment problems to the PM.  Equipment not fit for use may be withdrawn from the production area and segregated or identified with a Quarantine label until an investigation is completed. Instructions for dealing with nonconforming equipment may be found in procedure QSP 8.3-1 Control of Non-Conforming Product.

  - Production Environment

The production work environment can influence product quality.  The most significant factors within the work environment that can affect the product quality are the process equipment, work environment, and the personnel that works within that work environment.

    - Environmental Conditions

Personnel is encouraged to report conditions such as inadequate ventilation, excessively high or low temperatures, poor lighting, insects or rodents, and other conditions that adversely affect performance.

No Smoking or eating in all production areas.  No food or drink is allowed in the Disposable Production Area.

Review WI 2.2 on maintaining the glue used for reusable cannulas.

Based on the average ambient temperature of San Diego, no unique controls needed for the disposable glue, which is kept inside a dispenser in a cabinet in the Disposable Production Area.

    - Personal Cleanliness

Personnel is required to take precautionary measures where health, cleanliness, and personnel clothing may adversely affect the quality of the product according to QSP 6.4-1.

    - Cleanliness and Orderliness

Production Manager regularly surveys the production areas to identify unauthorized storage of material, products, scraps, tools, supplies, and other items outside of designated storage areas.

The production and storage areas are cleaned according to the QSP 6.4-1 Cleaning Procedure Assembly Areas.

- PROCESS FLOWCHART - N/A