Tulip Medical

Quality System Procedure

QSP 7.4-1

Purchasing and Supplier Evaluation

Approvals

V.P Regulatory Affairs 						             Date

Regulatory Affairs Coordinator					             Date

Document Control Administrator					              Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 1 | 08/29/2013 | Change Definition in section 3 for Critical Suppliers and added statement to step 4 of supplier performance. |
| 2 | 05/06/2014 | Updated to current processes. |
| 3 | 02/10/2015 | Updated supplier definitions and actions for critical suppliers. |
| 4 | 12/04/2015 | Updated Step 6 instructions to SOS from Netsuite and added “including reference to latest drawing rev” to insure Supplier is using latest rev. |
| 5 | 08/29/2018 | Procedure revised per the requirements outlined in ISO 13485:2016. Procedure reformatted. |
| 6 | 5/20/2020 | Added Supplier Designator definitions – 7.12.5 |
| 7 | 7/22/2020 | Added section 7.5.5 – Corrected section 7.12.2 |
| 8 | 5/20/2021 | Added note to section 7.1.1 to include distributors in Approved Supplier List. |
| 9 | 10/8/2021 | Revised section 7.2 and 7.3 to add clarity to purchasing process, Update references. Added section 7.1.6.4 to add a clause to allow Intertek to conduct unannounced audits |
| 10 | 04/09/2025 | Streamline and align with ISO 13485:2016, MDR 2017/745, FDA 21 CFR part 820 -3.0 References Updated form number for Evaluation of Contractor Qualifications Updated title of Outside Supplier Part Processing Checklist Added Supplier/Distributor/Contractor Classification Approval -5.0 Updated Abbreviations to match those mentioned in QSP -6.0 Added Document Control Administrator -7.1 Updated initial process -7.2 Updated PO procedure -7.3.1 Added evaluations below Satisfactory require justification -7.5 Added Approved Supplier Log |

- PURPOSE

This procedure establishes the steps for purchasing items and evaluating suppliers to ensure compliance with applicable regulatory standards and the quality of Tulip Medical Products’ finished goods. This includes:

- Managing suppliers impacting the Quality Management System (QMS) or product quality.

- Ensuring compliance with ISO 13485:2016, MDR 2017/745, FDA 21 CFR Part 820, and MDSAP requirements.

- Exceptions: Non-quality-impacting items such as stationery, shipping materials, and building supplies are managed outside this procedure under financial policies.

- SCOPE

This procedure applies to all personnel involved in purchasing and supplier management. Employees must demonstrate expertise through training records in accordance with QSP 6.2-1 Training and Qualification.

- REFERENCE DOCUMENTS

ISO 13485:2016

MDR 2017/745 (Annex IX)

FDA QSR 21 CFR Part 820

MDSAP Audit Model

| Form 4.2-1-2 | Change Request |
| --- | --- |
| Form 7.4-1-1 | Evaluation of Supplier Performance |
| Form 7.4-1-1-1 | Evaluation of Contractor Qualifications |
| Form 7.4-1-2 | Outside Supplier Part Processing Checklist |
| Form 7.4-1-3 | Supplier Quality Survey |
| Form 7.4-1-4 | Supplier/Distributor/Contractor Classification Approval |
| Form 7.4-2-1 | Receiving Inspection |
| QSP 4.2-3 | Change Control |
| QSP 7.4-2 | Product Inspection |

- DEFINITIONS

Administrative Supplier - Provides a product or production service that is in support of the product lines.

Critical Supplier - Provides materials or services directly affecting product safety and performance. Examples include sterile packaging and sterilization

Essential Supplier - Provides production materials or services for disposable or reusable product lines

- ABBREVIATIONS

DCA – Document Control Administrator

DHR – Document History Number

PO – Purchase Order

- RESPONSIBILITIES

Management Representative Maintains compliance, performs supplier evaluations, and ensures regulatory adherence.

Production Manager Oversees purchasing processes and supplier performance monitoring.

Document Control Administrator is responsible for maintaining company documents by numbering, sorting, filing, storing and retrieval of both electronic and hard copy documents produced.

- Procedure

  - New Supplier/Distributor/Contractor Qualification and Approval

    - New Supplier/Distributor/Contractor must complete a Form 7.4-1-3

    - QA must complete Form 7.4-1-4 and classify prior to approval

    - Critical Suppliers must have:

    - ISO certification or supplier audits without major nonconformities.

    - Written agreements mandating notification of process or product changes.

  - Purchase Order (PO) Process

    - Initiation:

    - Determine quantity and delivery timeline

    - Verify supplier approval

    - Completion:

    - Use SOS system to create POs, including specifications and revision numbers

    - Obtain VP-level approval for all POs

    - Issuance:

      - Submit approved POs to suppliers via email, fax, or other means

      - Fill Form 7.4-1-2 for Outside Supplier when processing parts

    - Receipt and Verification Upon delivery:

      - Inspect items per QSP 7.4-2 Product Inspection

      - Verify PO using Form 7.4-2-1 Receiving Inspection

    - DCA assigns Device History Record (DHR) numbers for traceability upon completion of receiving and updates logs.

  - Supplier Performance Monitoring

    - Evaluate Supplier/Contractor performance annually using Form 7.4-1-1 or 7.4-1-1-1, all evaluations below Satisfactory require justification.

    - Maintain records of evaluations, including corrective actions for nonconformance.

    - Ensure compliance with Post-Market Surveillance (PMS) and vigilance reporting.

  - Audit and Traceability

    - Conduct audits of Critical Suppliers per regulatory requirements, including MDSAP. 5.2 Maintain records of audits, POs, and supplier performance for traceability. 5.3 Suppliers must allow notified body access for unannounced audits (per MDR Annex IX).

  - Approved Supplier Log

    - When adding or removing a supplier Form 4.2-1-2 Change Request must be initiated in accordance with QSP 4.2-3 Change Control

    - Each supplier will have an appropriate classification assigned to them

      - Classification will be Administrative, Essential, or Critical

- Process Flowchart

N/A