Approvals

V.P Regulatory Affairs 						             Date

Regulatory Affairs Coordinator					             Date

Document Control Administrator					              Date

| Rev | Effective Date | Description of Change |
| --- | --- | --- |
| 0 | 5/23/2025 | Release documentation: Implementation of document for EU Medical Device Regulations (MDR) 2017/745 |
| 1 | 7/14/2025 | Updated procedure in section 6.5 to state that Tulip Medical Products appoints the PRRC through File Document FD-053 per MDR Article 15. Added FD-053 Appointment of PRRC to Reference Documents section 2 |

- PURPOSE -- SCOPE

The purpose of this document is to describe the requirements for medical devices placed on the market in the European Union (EU) under the Medical Devices Regulation (MDR) 2017/745, which have not been addressed in detail by the procedures listed in Section 2.

This procedure outlines requirements and/or obligations for:

- General – Management Resources

- Economic Operators (EOs)

- Person Responsible for Regulatory Compliance (PCCR) for European Union (EU)

- Supplier Controls

- Use of CE Marking

- Application of CE Marking

- Technical Documentation (TD)

- Harmonized Standards

- Unique Device Identifier

- European Database on Medical Devices (EUDAMED) {Currently delayed until May 2023}

and is used in conjunction with the procedures listed in Section 2 to document compliance with the EU MDR.

- Reference DOcuments

  - Medical Devices Regulation (MDR) 2017/745 – relevant Articles referenced (Art.)

  - QSP 4.2-1 Document Control

  - QSP 7.3-1 Design and Development

  - QSP 7.5-3 Product Labeling

  - QSP 8.2-2 Customer Feedback and Complaints

  - QSP 8.3-1 Control of Non-Conforming Product

  - QSP 8.5-1 Corrective and Preventive Action

  - QSP 9.1-3 Technical Documentation - MDR

  - QSP 9.1-7 Post-Market Surveillance

  - QSP 9.1-4 Development of Clinical Evaluation Report

  - QSP 9.1-6 Medical Device Reporting - MDR

  - QSP 9.1-6-1 Unique Device Identification System - MDR

  - Appendix A: EU Economic Operator Obligations

  - Appendix B: Supplier Form Templates

  - Appendix C: Eudamed Registration

  - Appendix D: Eudamed Registration Template

  - FD-053: Appointment of PRRC

- DEFINITIONS

  - Authorized representative (Art. 2(32)): any natural or legal person established within the Union who has received and accepted a written mandate from a manufacturer, located outside the Union, to act on the manufacturer's behalf in relation to specified tasks with regard to the latter's obligations under the MDR.

  - Basic UDI-DI (Annex VI Ch. C(1)): the primary identifier of a device model. It is the DI assigned at the level of the device unit of use. It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity.

  - CE marking: a marking by which a manufacturer indicates that a device is in conformity with the applicable requirements set out in the MDR and other applicable EU legislation providing for its affixing.

  - Economic Operator (EO) (Art. 2(35)): a manufacturer, an authorized representative, an importer, a distributor or for the (EU) MDR the person referred to in Art. 22(1) and 22(3).

  - Eudamed: the European database on medical devices that integrates different electronic systems to collate and process information regarding devices on the market and the relevant economic operators, certain aspects of conformity assessment, notified bodies, certificates, clinical investigations, vigilance and market surveillance. {Currently delayed until May 2022}

  - Harmonized standard: a European standard as defined in point (1)(c) of Art. 2 of Regulation (EU) No. 1025/2012.

Note: There are currently no Harmonized Standards for the MDR; in this absence, current Harmonized Standards under the MDD or more recent international versions can likely be used until standards become harmonized under the MDR. Refer to QSP 4.2-1 for monitoring of MDR-related guidance documents and standards.

  - Making available on the market (Art. 2(27)): any supply of a device, other than an investigational device, for distribution, consumption or use on the Union market in the course of a commercial activity, whether in return for payment or free of charge.

  - Manufacturer (Art. 2(30)): a natural or legal person who manufactures or fully refurbishes a device or has a device designed, manufactured or fully refurbished, and markets that device under its name or trademark.

  - Medical device (Art. 2(1)): any instrument, apparatus, appliance, software, implant, reagent, material or other article intended by the manufacturer to be used, alone or in combination, for human beings for one or more of the following specific medical purposes:

- diagnosis, prevention, monitoring, prediction, prognosis, treatment or alleviation of disease,

- diagnosis, monitoring, treatment, alleviation of, or compensation for, an injury or disability,

- investigation, replacement or modification of the anatomy or of a physiological or pathological process or state,

- providing information by means of in vitro examination of specimens derived from the human body, including organ, blood and tissue donations,

and which does not achieve its principal intended action by pharmacological, immunological or metabolic means, in or on the human body, but which may be assisted in its function by such means.

The following products shall also be deemed to be medical devices:

- device for the control or support of conception;

- products specifically intended for the cleaning, disinfection or sterilization of devices as referred to in MDR Art. 1(4) and of those referred to in the first paragraph of this point.

  - Member State: a member state of the European Union (EU) is a state that is party to treaties of the EU and thereby subject to the privileges and obligations of EU membership.  Member States are generally the individual countries located in Europe.

  - Placing on the market (Art. 2(28)): the first making available of a device, other than an investigational device, on the Union market.

  - Procedure pack (Art. 2(10)): a combination of products packaged together and placed on the market with the purpose of being used for a specific medical purpose.

  - Single-use device (Art. 2(8)): a device that is intended to be used on one individual during a single procedure.

  - Single Registration Number (SRN): is obtained by the competent authority from the electronic system and issued to the manufacturer, the authorized representative (AR), or importer.

  - System and Procedure Packs (SPP):

    - Procedure Pack (Art. 2(10)): a combination of products packaged together and placed on the market with the purpose of being used for a specific medical purpose;

    - System (Art. 2(11)): a combination of products, either packaged together or not, which are intended to be interconnected or combined to achieve a specific medical purpose.

  - Technical Documentation (TD): the name given to the regulatory documentation / file for all medical devices to be marketed in the EU, including all relevant attachments.

  - Trend: a sequence or pattern of data.  Analysis of a trend is performed to detect a special cause amidst the random variation of data.

  - Unique Device Identifier (UDI) (Art. 2(15)): a series of numeric or alphanumeric characters that is created through a globally accepted device identification and coding standard. It allows the unambiguous identification of a specific device on the market.

- ABBREVIATIONS

  - AR – Authorized Representative

  - CA - Competent Authorities

  - DoC – Declaration of Conformity (EU)

  - EO – Economic Operator

  - EU – European Union

  - GSPR – General Safety and Performance Requirements

  - MDR – Medical Device Regulation

  - PMS - Post-market surveillance

  - PRRC – Person Responsible for Regulatory Compliance

  - QA – Quality Assurance

  - QMS – Quality Management System

  - SPP – System and Procedure Pack

  - SPPP - System and Procedure Pack Producers

  - SRN - Single Registration Number

  - TD – Technical Documentation

- RESPONSIBILITIES

  - The PRRC is responsible for maintaining this procedure in a current state and for ensuring that QMS documentation is implemented and maintained for compliance with the MDR.

  - The PRRC has responsibilities for, but not limited to, ensuring that:

(a)  the conformity of the devices is appropriately checked, in accordance with the QMS under which the devices are manufactured, before a device is released;

(b)  the TD and the DoC are drawn up and kept up-to-date;

(c)  the post-market surveillance (PMS) obligations are complied with in accordance with MDR Art. 10(10);

(d)  the reporting obligations referred to in MDR Art. 87 to 91 are fulfilled; and

(e)  in the case of investigational devices, the statement referred to in Section 4.1 of Chapter II of Annex XV is issued;

Note: Refer to Step 8 for further PRRC requirements and details.

  - Product Development, Production and QA will assist with the assembly of the TD during the design and development of products.

  - Purchasing, Production and QA will assist with the control and monitoring over EOs (e.g. ARs, Importers, Distributors, etc.).

- GENERAL REQUIREMENTS

  - Tulip Medical Products is a medical device manufacturer involved in the design, manufacture and assembly of Cannulas & Accessories used for harvesting, processing and transferring autologous adipose tissue.

  - Tulip Medical Products has established, documented, implemented, and maintains a QMS and product TD files for compliance with the EU MDR.

  - To ensure that controls over our QMS and product TD files have been implemented and maintained, the company:

    - has identified and created the QMS processes needed for EU MDR compliance;

    - ensures the availability of resources and information necessary to support the operation and monitoring of these processes;

    - trends, monitors, and analyzes these processes;

    - implements action necessary to achieve planned results and maintain the effectiveness of these processes, and

    - establishes and maintain records needed to demonstrate compliance with the EU MDR; including all required TD.

  - Tulip Medical Products Top Management, is fully committed to the creation, implementation, effectiveness and maintenance of the QMS for EU MDR compliance.

  - Tulip Medical Products shall appoint a Person Responsible for Regulatory Compliance (PRRC) in accordance with MDR Article 15. The appointment, qualifications, and scope of responsibilities shall be documented and maintained through a controlled File Document (FD-053: Appointment of PRRC).

  - Top Management has appointed (Marc Pilkington, VP Regulatory Affairs) as the PRRC or MR who, irrespective of other responsibilities, has the responsibility and authority of the duties described in Step 5.2.

  - Tulip Medical Products has product liability insurance coverage that is proportionate to our risk class, type of device(s) and the size of our company; and is of sufficient financial coverage with respect of our potential liability under Directive 85/374/EEC3, without prejudice to more protective measures under national law. (Article 10(16)).

- ECONOMIC OPERATORS (EO)

  - Each EO is tasked with specific responsibilities, providing oversight of products throughout the distribution chain, until products are placed on the market.

  - Manufacturer - The manufacturer is the entity that manufactures a device, or has a device design or manufactured, and markets that device under its name or trademark.

    - The manufacturer’s obligations/responsibilities are documented in Art. 10. The manufacturer must have QMS procedures in place addressing all applicable MDR requirements.

    - Importers, distributors or other natural or legal persons must assume the obligations of the manufacturer if they:

      - Make a device available on the market under their own name, except in cases where there is an agreement in place with the manufacturers whereby the manufacturer is identified on the label and is responsible for meeting the requirements for manufacturers under the MDR.

      - Change the intended purpose of a device already placed on the market or put into service.

      - Modify a device already placed on the market or put into service in such a way that compliance with the applicable requirements may be affected.

    - The manufacturer must register the information in Section 1, Part A, Annex VI in order to acquire a Single Registration Number (SRN) to access EUDAMED. {Currently delayed until May 2022}

  - Authorized Representative - Where the manufacturer of a device is not established in a Member State, the device may only be placed on the EU market if the manufacturer designates an AR through a written agreement (see 3.1)

    - Tulip Medical Products must have a written agreement with an AR, located within the EU, to act on our behalf in relation to specified tasks with regard to Tulip Medical Products’s obligations under the MDR.

    - The AR’s responsibilities are stated in Art. 11 and Art. 15(6).

Note: Refer to A-1: Authorized Representative (AR) Obligations

- The AR must have procedures in place documenting all requirements of the AR.

- Tulip Medical Products must issue a written agreement to the AR and be accepted by the AR in writing, which defines the responsibilities that the AR must conduct on behalf of Tulip Medical Products.

    - If Tulip Medical Products has not complied with our obligations, the AR must be legally liable for defective devices on the same basis as, and jointly and severally with Tulip Medical Products.

    - A change of AR requires clearly defined agreement between Tulip Medical Products, the outgoing AR, and the incoming AR, refer to Art. 12. Refer to Appendix A-1-1 Change of AR.

    - The AR must register the information in EU MDR, Section 1 of Part A of Annex VI in order to acquire an SRN to access EUDAMED. {Currently delayed until May 2022}

  - Importers - An importer is any natural or legal person established within the EU that places a device from a third country on the EU market.

    - The importer’s responsibilities are listed in Art. 13 and Art. (30)3. The importer must have procedures in place addressing all requirements.

Note: Refer to Appendix A-2: Importers (EU) Obligations.

    - Importers must place on the EU market only devices that are in conformity with the MDR.

    - The importer must register information in Section 1, Part A, Annex VI in order to acquire an SRN to access EUDAMED. {Currently delayed until May 2022}

  - Distributors - A distributor is any natural or legal person in the supply chain, other than the manufacturer or importer, that makes a device available on the market, up until the point of putting into service. The activities of distributor include acquisition, holding, and supply of devices.

Note: An importer acting as both the importer and distributor must assume the responsibilities of both roles.

    - Distributors’ responsibilities are stated in Art. 14.

Note: Refer to Appendix A-3 Distributor Agreements (EU), Distributor’s Obligations.

    - Distributor(s) must have procedures in place addressing all requirements.

  - If applicable, any distributor, importer, or other natural or legal person must assume the obligations incumbent of Tulip Medical Products if it performs certain activities (per Art. 16). The activities include:

    - Repackaging activities undertaken by importers and distributors as described in Step 6.1.2.2.

    - Providing systems or procedure packs per Art. 22.

  - The importer, distributor, and any natural or legal person responsible for repackaging or the creation of systems or procedure packs must have a procedure in place to define under what conditions they assume the obligations of the manufacturers in accordance with Art. 16 and Art. 22.

- Person(s) Responsible for Regulatory Compliance (PRRC (EU))

  - Tulip Medical Products and AR must have available within their organization at least one PRRC.

  - Manufacturer PRRC:

    - Tulip Medical Products shall have available within our organization at least one PRRC who possesses the requisite expertise in the field of medical devices. The requisite expertise shall be demonstrated by either of the following qualifications:

(a)  a diploma, certificate or other evidence of formal qualification, awarded on completion of a university degree or of a course of study recognized as equivalent by the Member State concerned, in law, medicine, pharmacy, engineering or another relevant scientific discipline, and at least one year of professional experience in regulatory affairs or in QMSs relating to medical devices;

(b) four years of professional experience in regulatory affairs or in QMSs relating to medical devices.

Without prejudice to national provisions regarding professional qualifications, manufacturers of custom-made devices may demonstrate the requisite expertise referred to in the first subparagraph by having at least two years of professional experience within a relevant field of manufacturing.

    - Micro and small enterprises within the meaning of Commission Recommendation 2003/361/EC (1) shall not be required to have the PRRC (EU) within their organization but shall have such person permanently and continuously at their disposal.

    - The appointment of the PRRC must be documented in the QMS.

    - The assignment of the PRRC responsibilities, as identified above in Section 5 Responsibilities and in Art. 15(3).

    - If a number of persons are jointly responsible for regulatory compliance, their respective areas of responsibility must be documented in writing.

    - The PRRC shall suffer no disadvantage within the manufacturer's organization in relation to the proper fulfilment of his or her duties, regardless of whether or not they are employees of the organization.

  - Authorized Representative (AR) PRRC - The AR must have permanently and continuously at their disposal, at least on PRRC who possesses the requisite expertise regarding the regulatory requirements for medical devices in the EU. The requisite expertise shall be demonstrated by either of the following qualifications:

(a) a diploma, certificate or other evidence of formal qualification, awarded on completion of a university degree or of a course of study recognized as equivalent by the Member State concerned, in law, medicine, pharmacy, engineering or another relevant scientific discipline, and at least one year of professional experience in regulatory affairs or in QMSs relating to medical devices;

(b) four years of professional experience in regulatory affairs or in QMSs relating to medical devices.

- Supplier Controls

  - Selection and control over suppliers that affect our product or related supply chain services, such as EOs, are analyzed and documented via the following (but not limited to):

- Evaluation forms (refer to Appendix B – Supplier Form Templates);

- Quality agreements; and/or

- Purchase orders.

  - Quality agreements are required, at a minimum, for AR, Importers and Distributors. Note that quality agreements may also be required for other suppliers, such as a contract manufacturer or contract packager.

Note: Refer to Steps 7.3, 7.4 & 7.5 above and Appendix A - EU Economic Operator Obligations for specific requirements and obligations over our EOs.

  - The types of control and evaluation used for supplier selection and ongoing control is documented and maintained.

- Use of CE Marking

  - Class I Self-Certified medical devices placed on the market in the EU, require a CE mark. The CE marking indicates that a product has met all regulatory requirements applicable to the product and allows for free movement of products between Member States.

  - The CE marking may only be placed upon a product and product labeling when all of the following criteria have been met:

- TD and EU DoC has been completed and approved (in accordance with QSP 9.1-3),

- AR has been appointed, and

- Medical device has been registered with CA by the AR.

- Application of CE Marking

  - Medical devices, other than custom-made or investigational devices, considered to be in conformity with the applicable legislation must bear the CE marking of conformity.

  - The CE marking must be affixed visibly, legibly, and indelibly to the device.

- Where such affixing is not possible on the device, the CE marking must be affixed to the packaging.

- The CE mark must be affixed before the device is placed on the market.

  - Requirements for the form and proportion of the CE marking are specified in Annex V. The vertical dimension, may not be less than 5 mm.

Note: This minimum dimension may be waived for small scale devices.

- Technical Documentation (TD)

  - TD is the compilation of information that demonstrates compliance of a medical device with the MDR.

  - TD provides the basis for CE marking and is required for all medical device classes. Refer to QSP 9.1-3 for further details on TD compilation requirements.

  - The initiation of TD begins during the device design and development and initiation of risk management; refer to QSP 7.3-1 for further details.

- Harmonized Standards

Note: There are currently no Harmonized Standards for the MDR; in this absence, current Harmonized Standards under the MDD or if there are more recent international versions, these can likely be used until ones become harmonized under the MDR.

  - Harmonized standards are EU standards, often based fully or partially on international standards, adopted upon a request made by the EU Commission, for the application of EU-harmonized legislation. Compliance with harmonized standards provides a presumption of conformity with the requirements (e.g. GSPR) that they aim to cover, if their references have been published in the Official Journal of the EU.

  - The EU version of the standard may or may not contain modifications to the international standard in order to meet EU specific requirements. Harmonized standards may contain annexes (e.g. Annex Z) which link the standard, or section of the standard, with regulatory requirements. Harmonized standards vary by product type.

  - Devices that are in conformity with harmonized standards, or the relevant parts of those standards, are presumed to be in conformity with the requirements of the MDR.

  - Harmonized standards are expected to be used to demonstrate compliance with applicable requirements, when a harmonized standard is available.

- If an EU-harmonized standard is available, but not utilized for the demonstration of compliance with a specified EU requirement, a robust justification for not utilizing the harmonized standard must be provided.

- It a harmonized standard does not exist, international standards, national standards, or locally developed methods may be used to demonstrate compliance with the GSPR.

  - Harmonized standards must be referenced within the GSPR checklist.

  - Harmonized standards must be included within TD.

- Unique Device Identifier

  - The Unique Device Identifier (UDI) system allows for the identification of devices and facilitates traceability of devices.

  - Tulip Medical Products must obtain a Basic UDI-DI for device, to be:

- included in TD,

- listed on the DoC, and

- utilized as the main key for records in the UDI database (when available).

  - Refer to QSP 9.1-6 for further details on Basic UDI-DI and UDI requirements for product and product labeling.

Note: Art. 27 discusses UDI System and Art. 28 discusses UDI Database, which has yet to be established at time of release of this procedure.

Note: Art. 123 (3):

(f) For class I devices Art. 27(4) shall apply from 26 May 2025;

(g) for reusable devices that shall bear the UDI carrier on the device itself, Art. 27(4) shall apply from two years after the date referred to in point (f) of this paragraph for the respective class of devices in that point.

- European Database on Medical Devices (Eudamed) {Currently delayed until May 2022}

  - Eudamed is meant to enable regulatory authorities and the public to be adequately informed about devices on the EU market and enable identification and facilitate traceability of devices.

  - Eudamed is structured around the following modules and has a public site. Examples of required content are listed below:

    - Actor Registration (Manufacturer, Importer, AR; does not apply to Distributors)

- Actors must enter contact information, PRRC contact information (if applicable), and request an SRN.

    - UDI Database and Device Registration:

- Contains core data elements used to identify a device.

- The Basic UDI-DI is linked to UDI-Dis of devices related to this same device.

- The device(s) are linked to applicable certificates.

- Refer to QSP 9.1-6 for further details.

    - Vigilance and Post-Market Surveillance

- The manufacturer must upload incident reports (initial, follow-up, and final reports).

- The module enables Field Safety Corrective Actions (FSCAs) AND Field Safety Notices (FSNs) to be distributed to all involved EU Member States.

- When applicable manufacturers can report trends in incidents.

    - Market Surveillance (performed by Competent Authorities and European Commission):

        - Allows Member States to upload their summaries of market surveillance results, and reports of inspections carried out at EOs.

        - Includes information related to non-compliant products and devices presenting unacceptable risk and actions against devices and/or EOs.

  - Data owners must be identified for all EOs and sponsor modules.

    - Quality agreements must outline data entry responsibilities.

    - Data owners must populate EUAMED modules with appropriate data and are responsible for the quality of their data.

  - Refer to Appendix C for instruction on Eudamed Registration and Appendix D, Eudamed Registration Template, to document data.

  - Eudamed data is to be kept current and correct by data owners.

    - EOs must update any changes in registration data (Annex V, Part A, Section 1) within one week of any change occurring.

    - EOs must confirm initial registration data no later than one year after the submission of the information. Every second year thereafter, the EO must confirm the accuracy of the data.

- QUALITY RECORDS

  - Maintain Quality agreements between EO (manufacturer, importer, AR) by supplier file [Filed mannually and secure online].

  - Maintain and control all other records compiled as part of the QSP by device family/SRN number [Filed mannually and secure online].

  - Records and documents are maintained in accordance with QSP 4.2-1.

Appendix A: EU Economic Operator Obligations

A-1: Authorized Representative (AR) Obligations

  - If the Tulip Medical Products is not established in a Member State, the Tulip Medical Products (referred to as manufacturer) shall designate a sole AR prior to placing the device on the EU market.

  - The designation shall constitute the AR’s agreement and it shall be valid only when accepted in writing by the AR and shall be effective at least for all devices of the same generic device group.

  - The AR shall perform the tasks specified in the agreement agreed between it and the manufacturer. The AR shall provide a copy of the agreement to the competent authority, upon request.

The manufacturer shall enable based on the agreement, the AR to perform at least the following tasks in relation to the devices that it covers:

    - verify that the EU declaration of conformity (DOC) and technical documentation have been drawn up and, where applicable, that an appropriate conformity assessment procedure has been carried out by the manufacturer;

    - keep available a copy of the technical documentation, the EU DOC and, if applicable, a copy of the relevant certificate, including any amendments and supplements, issued in accordance with Art. 56, at the disposal of competent authorities for the period referred to in Art. 10(8);

    - comply with the registration obligations laid down in Art. 31 and verify that the manufacturer has complied with the registration obligations laid down in Art. 27 and 29;

    - in response to a request from a competent authority, provide that competent authority with all the information and documentation necessary to demonstrate the conformity of a device, in an official Union language determined by the Member State concerned; refer to QSP 7.5-3 Product Labelling for language requirements;

    - forward to the manufacturer any request by a competent authority of the Member State in which the AR has its registered place of business for samples, or access to a device and verify that the competent authority receives the samples or is given access to the device;

    - cooperate with the competent authorities on any preventive or corrective action taken to eliminate or, if that is not possible, mitigate the risks posed by devices;

    - immediately inform the manufacturer about complaints and reports from healthcare professionals, patients and users about suspected incidents related to a device for which they have been designated;

    - terminate the agreement if the manufacturer acts contrary to its obligations under the MDR.

  - The agreement with the AR referred to in 3) above, shall not delegate the manufacturer's obligations laid down in Art. 10(1)-(4), (6), (7), and (9)-(12).

  - Without prejudice to 4) above, where the manufacturer is not established in a Member State and has not complied with the obligations laid down in Art. 10, the AR shall be legally liable for defective devices on the same basis as, and jointly and severally with, the manufacturer.

  - An AR who terminates its agreement on the ground if the manufacturer acts contrary to its obligations under the MDR, shall immediately inform the competent authority of the Member State in which it is established of the termination of the agreement and the reasons for termination.

  - Any reference in the MDR to the competent authority of the Member State in which the manufacturer has its registered place of business shall be understood as a reference to the competent authority of the Member State in which the AR, designated by a manufacturer referred to in 1) above, has its registered place of business.

A-1-1: Change of AR

The detailed arrangements for a change of AR shall be clearly defined in an agreement between the manufacturer, where practicable the outgoing AR, and the incoming AR. That agreement shall address at least the following aspects:

    - the date of termination of the agreement of the outgoing AR and date of beginning of the agreement of the incoming AR;

    - the date until which the outgoing AR may be indicated in the information supplied by the manufacturer, including any promotional material;

    - the transfer of documents, including confidentiality aspects and property rights;

    - the obligation of the outgoing AR after the end of the agreement to forward to the manufacturer or incoming AR any complaints or reports from healthcare professionals, patients or users about suspected incidents related to a device for which it had been designated as AR.

A-2: Importers (EU) Obligations

  - Before placing the device on the EU market, the company (referred to as Importer) shall ensure:

    - the device has been CE marked and the EU Declaration of Conformity (DOC) has been drawn up;

    - the manufacturer and Authorized Representative (AR) are designated by the manufacturer;

    - the required information as per the MDR and accompanied by the required instructions for use; and

    - where applicable, a UDI has been assigned by the manufacturer in accordance with Art. 27.

  - If the importer considers or has reason to believe that a device is not in conformity, it shall not place the device on the market until it has been brought into conformity and shall inform the manufacturer and the manufacturer's AR. If the importer considers or has reason to believe that the device presents a serious risk or is a falsified device, it shall also inform the competent authority of the Member State in which the importer is established.

  - The importer shall indicate on the device or on its packaging or in a document accompanying the device their name, registered trade name or registered trade mark, their registered place of business and the address at which they can be contacted, so that their location can be established. They shall ensure that any additional label does not obscure any information on the label provided by the manufacturer.

  - The importer shall verify that the device is registered in the electronic system, including their details as EUDAMED Registration.

  - The importer shall ensure that, while a device is under their responsibility, storage or transport conditions do not jeopardize its compliance with the general safety and performance requirements and shall comply with the conditions set by the manufacturer, where available.

  - The importer shall keep a register of complaints, of non-conforming devices and of recalls and withdrawals, and provide the manufacturer, AR and distributors with any information requested by them, in order to allow them to investigate complaints.

  - If the importer considers or has reason to believe that a device which they have placed on the market is not in conformity they shall immediately inform the manufacturer and its AR. The importer shall co-operate with the manufacturer, the manufacturer's AR and the competent authorities to ensure that the necessary corrective action to bring that device into conformity, to withdraw or recall it is taken. Where the device presents a serious risk, they shall also immediately inform the competent authorities of the Member States in which they made the device available and, if applicable, the notified body that issued a certificate for the device in question, giving details, in particular, of the non-compliance and of any corrective action taken.

  - If the importer receives complaints or reports from healthcare professionals, patients or users about suspected incidents related to a device which they have placed on the market they shall immediately forward this information to the manufacturer and its AR.

  - The importer shall keep a copy of the EU DOC and, if applicable, a copy of any relevant certificate, including any amendments and supplements, issued in conformance with Art. 56.

  - The importer shall cooperate with competent authorities, at their request, on any action taken to eliminate or, if that is not possible, mitigate the risks posed by devices which they have placed on the market. The importer, upon request by a competent authority of the Member State in which the importer has its registered place of business, shall provide samples of the device free of charge or, where that is impracticable, grant access to the device.

A-3 Distributor Agreement (EU), Distributors Obligations

  - Tulip Medical Products shall ensure a signed Distributor Agreement is in place detailing the requirements of the distributor(s) prior to marketing the device(s).

  - Before making a device available on the market, the distributor(s) shall verify that all of the following requirements are met:

      - the device has been CE marked and that the EU declaration of conformity (DOC) of the device has been drawn up;

      - the device is accompanied by the information to be supplied by the manufacturer: Instructions for Use and product labelling in the official language determined by the member state;

      - for imported devices, the importer has included: Importer contact information, per Art. 13(3);

      - that, where applicable, a UDI has been assigned by the manufacturer.

In order to meet the requirements referred to in points (a), (b) and (d) the distributor may apply a sampling method that is representative of the devices supplied by that distributor.

Where a distributor considers or has reason to believe that a device is not in conformity, it will not make the device available on the market until it has been brought into conformity, and shall inform the manufacturer and, where applicable, the manufacturer's authorized representative (AR), and the importer.

Where the distributor considers or has reason to believe that the device presents a serious risk or is a falsified device, it shall also inform the competent authority of the Member State in which it is established.

  - Distributors shall ensure that, while the device is under their responsibility, storage or transport conditions comply with the conditions set by the manufacturer.

  - Distributors that consider or have reason to believe that a device which they have made available on the market is not in conformity shall immediately inform the manufacturer and, where applicable, the manufacturer's AR and the importer.

Distributors shall co-operate with the manufacturer and, where applicable, the manufacturer's AR, and the importer, and with competent authorities to ensure that the necessary corrective action to bring that device into conformity, to withdraw or to recall it, as appropriate, is taken. Where the distributor considers or has reason to believe that the device presents a serious risk, it shall also immediately inform the competent authorities of the Member States in which it made the device available, giving details, in particular, of the non-compliance and of any corrective action taken.

  - Distributors that have received complaints or reports from healthcare professionals, patients or users about suspected incidents related to a device they have made available, shall immediately forward this information to the manufacturer and, where applicable, the manufacturer's AR, and the importer. They shall keep a register of complaints, of non-conforming devices and of recalls and withdrawals, and keep the manufacturer and, where available, the AR and the importer informed of such monitoring and provide them with any information upon their request.

  - Distributors shall, upon request by a competent authority, provide it with all the information and documentation that is at their disposal and is necessary to demonstrate the conformity of a device. Distributors shall be considered to have fulfilled the obligation referred to in the first subparagraph when the manufacturer or, where applicable, the AR for the device in question provides the required information.

Distributors shall cooperate with competent authorities, at their request, on any action taken to eliminate the risks posed by devices which they have made available on the market.

Distributors, upon request by a competent authority, shall provide free samples of the device or, where that is impracticable, grant access to the device.

Appendix B: Supplier Form Templates

B-1 Supplier Selection Template

| Part A: Supplier Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Supplier Name: |  |  | Contact Name: |  |  |
| Address: |  |  | Phone: |  |  |
| Reason for new Supplier Evaluation: ☐ New Supplier ☐ Other (note): |  |  |  |  |  |
| Products/Material/Services to be Provided: |  |  |  |  |  |
| Is supplier EO? |  | ☐ NO ☐ AR ☐ Importer ☐ Distributor |  |  |  |
| Evaluation Performed By: |  |  | Date of Evaluation: |  |  |

| Part B: Supplier Evaluation Criteria Check all that are applicable and attach proof of data, when applicable (e.g. copy of QA/Contract). | Required | Not Required |
| --- | --- | --- |
| ISO certificate / other applicable accreditation If required record expiration date: | ☐ | ☐ |
| Supplier References | ☐ | ☐ |
| Quality Agreement (QA) or IDA for Distributors / Contract (required for Economic Operators & Contract Manufacture) | ☐ | ☐ |
| Samples for Evaluation | ☐ | ☐ |
| Establish Acceptance Criteria (Incoming Quality, final release) | ☐ | ☐ |
| Facility On-Site Audit | ☐ | ☐ |
| Product Change Notification | ☐ | ☐ |
| [ADD OTHER ITEMS AS NEEDED] | ☐ | ☐ |
| Forward to the PRRC or Designee for approval |  |  |

| Part C: Review and Approval - Based on the information reviewed and evaluation performed the above supplier is: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ☐ Approved ☐ Not Approved | Comments: |  |  |  |  |  |
| Approved by Purch: |  |  |  | Date: |  |  |
| Approved by PCCR: |  |  |  | Date: |  |  |
| *** After completion return to Document Control for filing *** |  |  |  |  |  |  |
| Filed By DC: |  |  |  | Date: |  |  |

B-2 Supplier Ongoing Evaluation Template

| PART A: Supplier / Time Period |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Supplier: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Period of Evaluation: |  |  |  |  |  | From: |  |  |  | To: |  |  |  |  |
| Complete By (person): |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
| PART B: Evaluation Criteria / Results |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If supplier has ISO certification and /or other registrations – check documents for current dates and to ensure they are not expired. If applicable, obtain updated documents and place in file. Check applicable box(es): |  |  |  |  |  |  |  |  |  |  | ☐ Yes ☐ Complete |  | ☐ N/A |  |  |
| Does supplier have Quality Agreement / Contract - check document to ensure data is still correct / current (e.g. addresses, personnel, products listed, etc.). Where applicable check that TD and Eudamed registrations are current. If applicable, update with supplier and / or obtain updated documents; place in supplier file. Check applicable box(es). |  |  |  |  |  |  |  |  |  |  | ☐ Yes ☐ Complete |  | ☐ N/A |  |  |
| Is supplier due for on-site facility audit? |  |  | Record Last Audit Date: |  |  |  |  |  |  |  | ☐ Yes |  | ☐ No |  |  |
| We have rated the supplier as follows for the above time period (tick the block indicating the supplier ranking – when applicable, compare supplier results to quality target, delivery targets, etc.). Attach any support documentation and / or additional comments. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Unsatisfactory |  | Marginal |  |  | Acceptable |  |  |  | Good |  |  |  |  | Excellent |  |
| Responsiveness / Cooperation in satisfying needs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ |  | ☐ |  |  | ☐ |  |  |  | ☐ |  |  |  |  | ☐ |  |
| Quality of goods / services delivered |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ |  | ☐ |  |  | ☐ |  |  |  | ☐ |  |  |  |  | ☐ |  |
| On Time Delivery of goods / services |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ |  | ☐ |  |  | ☐ |  |  |  | ☐ |  |  |  |  | ☐ |  |
| Recommendation based on the criticality of the supplied materials and potential effects on the medical device |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Retained as an Approved Supplier e.g. score of Acceptable or Above |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Advised that improvements are necessary (CAPA necessary) e.g. score of Marginal or Unsatisfactory [ Description of activities: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Removed as an Approved Supplier e.g. score of Unsatisfactory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Approvals (Name & Title) |  |  |  |  |  |  |  | Signature: |  |  |  |  |  | Date: |  |
| *** Return to Purchasing Department after completion *** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Appendix C : EUDAMED Registration

Appendix C-1: Registration of Devices (Per EU MDR, Annex VI, Part A (2))

Before placing a device on the market, Tulip Medical Products shall ensure or enter or if already provided verify in Eudamed the following information. Use Eudamed Registration Template in Appendix D to document data for internal records prior to entry into Eudamed. Enter the particular device data for the following topics in Part 2 of Eudamed Registration Template (Appendix D). - Basic UDI-DI (per QSP 9.1-6 UDI – EU MDR); - Member State in which the device is to or has been placed on the market in the Union; - Risk class of the device; - Status of the device (on the market, no longer placed on the market, recalled, field safety corrective action initiated). - Reprocessed single-use device (y/n); - In the case of devices designed and manufactured by another legal or natural person; - Status of Device (on the market, no longer placed on the market, recalled, field safety corrective action initiated).

Appendix C-2 Registration of Manufacturers, Ars and Importers and SPPP (Per MDR Annex VI, Part A (1))

Before placing a device on the market the manufacturer, submit to the electronic system referred to in MDR Art. 30 (“the electronic system”) the information referred to in Section 1 of Part A of Annex VI “Information to be submitted Upon the Registration of Devices and Economic Operators in Accordance with MDR Arts. 29(4) and (31) and /or IVDR Arts. 26(3) and 28”, provided that they have not already registered in accordance with these Articles. - The information includes the type of EO (Manufacturer, AR, Importer or SPPP): Note: Complete Part 1 of Eudamed Registration Template (Appendix D) with Manufacturer and PRRC information. Note: Complete Part 3 of Eudamed Registration Template (Appendix D) with other EO information, as applicable. - Name, address and contact details of the EO; - Where submission of information is carried out by another person on behalf of any of the EOs mentioned under Step 1 (a), the name, address and contact details of that person; and - Name, address and contact details of the PRRC(s). - Record who completed (name and title), date completed, revision history and next review date, based on Step 6 below. - After having verified the data entered in Step 1 above, the Competent Authority shall obtain the SRN from the electronic system and issue it to the manufacturer, the AR, the importer, or the SPPP. - Record the SRN number(s) on Form 9.2-10-1, Part 1 and Part 3, as applicable. Update the Revision History section of the form. - The manufacturer or SPPP shall use the SRN when accessing Eudamed in order to fulfil its obligations under MDR Art. 29. - Within one week of any change occurring in relation to the information referred to in Step 1 (a) (b) (c) above (and per MDR Art. 31), the EO shall update the data in the electronic system. - Not later than one year after submission of the information in accordance within Step 1 (a) (b) (c) above (and per MDR Art. 31), and every second year thereafter, the EO shall confirm the accuracy of the data. - In the event of a failure to confirm data within six months of those deadlines, any Member State may take appropriate corrective measures within its territory until that EO complies with that obligation. - Without prejudice to the EO's responsibility for the data, the Competent Authority shall verify the confirmed data referred in in Step 1 (a) (b) (c) above. Note: The data entered pursuant to Step 1 (a) (b) (c) above (and per MDR Art. 31) in the electronic system shall be accessible to the public. - The Competent Authority may use the data to charge the manufacturer, the AR, the importer or the SPPP a fee pursuant to MDR Art. 111.

Appendix D: EUDAMED Registration Template

| Revision History and Reviews |  |  |  |
| --- | --- | --- | --- |
| Completed / Updated by (Name & Title): | Date | Revision History | Next Review Date |

| PART 1 – Manufacturer & PRRC INFORMATION |  |  |  |
| --- | --- | --- | --- |
| Manufacturer |  | PRRC for Manufacturer |  |
| Name: |  | PRRC Name(s)*: |  |
| Address: |  | Company Name Address: |  |
| Contact Information: |  | Contact Information*: |  |
| SRN (once assigned): |  | *Enter all names & contact information if more than 1 PRRC. |  |

Note: For other EOs see Part 3 below.

Note: If another person submits information on behalf of an EO to the electronic registration database then the name, address and contact information of that person should also be recorded.

| PART 2 - Device Registration Information |  |  |  |  |
| --- | --- | --- | --- | --- |
| Device Data | Devices |  |  |  |
| Basic UDI-DI: |  |  |  |  |
| Member State in which device is to or has been placed on market: |  |  |  |  |
| Risk Class of Device: |  |  |  |  |
| Reprocessed single-use Device: | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |
| Manufactured by another Legal or Natural Person: | ☐ NA ☐ Applicable, explain: | ☐ NA ☐ Applicable, explain: | ☐ NA ☐ Applicable, explain: | ☐ NA ☐ Applicable, explain: |
| Status of Device (on the market, no longer placed on the market, recalled, field safety corrective action initiated): |  |  |  |  |

| PART 3 – Other Economic Operators (EOs) |  |
| --- | --- |
| Authorized Representative ☐ NA |  |
| Name: |  |
| Address: |  |
| Contact Information: |  |
| SRN (once assigned): |  |
| Importer * ☐ NA |  |
| Name: |  |
| Address: |  |
| Contact Information: |  |
| SRN (once assigned): |  |
| SPPP ☐ NA |  |
| Name: |  |
| Address: |  |
| Contact Information: |  |
| SRN (once assigned): |  |

*include additional areas if more than 1 Importer

END OF DOCUMENT