# QSP 7.3-3 R9 Risk Management

# 7.3.1 Purpose

This procedure establishes requirements for risk management activities during the design and development of medical devices.

# 7.3.2 Scope

This procedure applies to all medical device design and development projects within the organization.

# 7.3.5 Risk Analysis

The risk analysis can be recorded on Form 7.3-3-2. Risk analysis shall identify known and foreseeable hazards associated with the medical device in both normal and fault conditions.

Risk analysis activities shall include:

a) Identification of intended use and reasonably foreseeable misuse

b) Identification of characteristics related to safety

c) Identification of hazards and hazardous situations

# 7.3.6 Risk Evaluation

For each hazardous situation, the organization shall estimate the associated risk using the risk matrix defined in this procedure.

# 7.3.7 Risk Control

Risk control measures shall be implemented according to the following hierarchy:

1. Inherent safety by design

2. Protective measures in the medical device itself or in the manufacturing process

3. Information for safety