Tulip Medical

Quality System Procedure

QSP 4.2-2:  Control of Quality Records

Approved:

V.P Regulatory Affairs     							Date

Regulatory Affairs Coordinator 				                                    Date

Document Control Administrator					                  Date

| Rev | Date |  | Description of Change |
| --- | --- | --- | --- |
| 1 | 11/06/2014 |  | Retain Training Records for Life of the Company. |
| 2 | 07/30/2015 |  | Updated Document storage and database back-up |
| 3 | 10/19/2017 |  | Division of responsibility updated throughout the procedure and in Table 1 – Quality Records to provide a more accurate breakdown of which job functions are responsible for the control of which quality records. |
| 4 | 12/07/2017 |  | Section 7.5.2 updated to indicate daily offsite back up required. |
| 5 | 08/28/2018 |  | Sections 2.0, 4.0, 7.0, 7.4.1 and 7.5.1 updated for accuracy. |
| 6 | 11/02/2018 |  | Sections 6.0, 7.0, and Table 1 revised for responsibility. |
| 7 | 04/05/2019 |  | Section 7.3 added to describe the creation of Records from existing Forms |
| 8 | 09/23/2019 |  | Section 2.0 Scope: changed paragraph Section 4.0 Definitions: changed to the printed copy Section 5.0 Abbreviations: added Document Control Administrator Section 6.0 Responsibilities: added Document Control Administrator as the responsible party to Tulip’s manual controlled documents. Section 7.0 Procedure: updated the information to reflect the manually controlled document process. 7.1-3 Held By, changed from 'The party responsible' to 'DCA'; 7.3 Creation of Records from Forms, changes pertain to 'all documents' using the approved header template and converting from a form to a record.; 7.6.1 Electronic Record Back-up Procedures, 'After review by MR' changed to 'After reviewing by DCA"; explained the Dropbox® and backed up by a secondary, cloud-based system. CrashPlan®.; 7.6.2 removed as it was repetitive to 7.6.1 |
| 9 | 05/14/2020 |  | 1.0 Purpose – updated purpose; 2.0 Scope – updated scope; 3.0 Reference Documents – removed Form 6.2-1-2 and RFD 008; 4.0 Definitions – added Controlled Copy, Disposition, Electronic Record, Retention Period, and Uncontrolled Copy; 5.0 Abbreviations – removed DCA, EVP, MR, and RA. These acronyms reflected in other sections throughout the document; 6.0 Responsibilities – updated DCA responsibilities; added VPO and RA as the authorities to assign change and/or update documents; 7.0 Procedure – updated the entire section adding sections and subsection to identifying the procedures. added the Note section regarding patient information Paragraph 7.8 added to include the retention of records and not clearly stated in revision 8; it is removed from Table 1 the Held by column because it is the same for every Type of Record; described in subsection 7.8.; Changes to Table 1 now states Lifetime of the medical device if Type of Record pertains to a medical device; other documents are now 7 years or 2 years; Training and Qualification has changed to 2 years after separation of employment; Former 7.2 Documentation Practice has moved under 7.0 General Information and is now 7.7; Previous 7.3 Creation of Records is now Section 8.0 to understand the difference between the template and the new record; Last 7.4 Destruction of Record and 7.5 Provision of Records to Regulatory Representative is now 9.0 and 10.0, respectively; 10.0 Provisions of Records to Regulatory Representative to include Australia and Brazil. Previous 7.6 is now 7.2 |
| 10 | 07/24/2020 |  | Changed minimum duration of retention for “Device History Record / Receiving Inspection Records”, “Obsolete Device Master Record”, “Technical Files”, “Risk Assessment”, and “Material Traceability Records”. |
| 11 | 03/20/23 | Update QSP 4.2-2 retention requirements with TGA(MD) Sch3 P1 1.9 Update Record retention requirements in accordance with ISO 13485 |  |
| 12 | 03/05/25 | 1.0 The addition of Regulatory Affairs Coordinator added in approved signature 4.0 Definitions: -Revised disposition by removing Dropbox -Removed Uncontrolled documents 6.0 Responsibilities and Authority – Revised DCA by removing Dropbox to Google Drive 7.1 Removed Ref. QSP 4.2-4 due to repeated in sect. 7.7 7.2 Revised DCA process from Dropbox to Google Drive 7.4 Removed “Distribution” not applicable to SOS invoice 7.8 Note has been removed: Obsolete documents are retained for at least two previous revisions unless specified otherwise in the Minimum Duration of Retention column. 8.0 Updated to align with 2.0 Scope Removed figures due to not correlating with QSP 9.2 Removed not associated with Quality Records |  |

- PURPOSE

To control documents generated by Tulip Medical Products.

- SCOPE

This scope outlines the procedure for controlling documents related to Tulip Medical's Quality Manual System (QMS).  The Document Control Administrator is responsible for the identification, access, filing, storage, retention, and disposal of records.

- REFERENCE DOCUMENTS

| QSP 4.2-1 | Document Control |
| --- | --- |
| QSP 4.2-3 | Change Control |
| QSP 4.2-4 | Good Documentation Practices |
| QSP 6.4-2 | Company Data Server Storage and Backup Systems |

- DEFINITIONS

Controlled Copy – A formal copy of the latest updated version of a document.

Disposition – The action taken regarding records from previous years, refer to 7.1 of this QSP for action taken.

Records/Documentation – An original signed and dated printed copy demonstrates conformance to specified requirements and the effective operation of the Quality System.

Retention Period – The length of a retained record.

- ABBREVIATIONS

DCA – Document Control Administrator

QA – Quality Assurance

QSP – Quality Systems Procedure

- RESPONSIBILITIES and AUTHORITY

The Document Control Administrator (DCA) maintains all documents in the Master File binders, the Departmental binders, and the electronic files in Google Drive

The Management Representative (MR) is responsible for maintaining this procedure in its current state and ensuring the retention times of quality records.

The Regulatory Affairs (RA) has the authority to assign change or updates of documents and ensures compliance with the requirements of the procedure.

- PROCEDURES

Note:  Tulip Medical Products does not request nor accept patient information.  If received as a paper copy, it will be shredded.  Emails will be deleted.

- Records are maintained as objective evidence of conformity, implementation, and effective operation of the QMS and other business activities of Tulip. All documents must be legible, accurate, readily identifiable, and appropriately retrievable. The DCA is responsible for the disposition, management, and retention of documents and records, both electronically and in hardcopy, to ensure compliance with Tulip regulations QSP 4.2-1.

- Approved documents are then scanned and stored in the company’s Google Drive; the original hardcopy will be maintained in the Master Folders which are controlled by the DCA (QSP 6.4-2).

- Print documents on 8-½” x 11", legal, or 11” x 17” white bond paper.

- The following records are maintained in the SOS Inventory software and retrievable as needed:

- Production work orders

- Sales orders

- Invoice

- All hard copies of the sales orders will be contained by the Accounting Assistant in a segregated file cabinet, divided by month for 1 year.  Previous years will be transferred to legal-size boxes and stored in Warehouse 1.  Store all other years at the secured storage unit.

- Physical copies of production-related documents and records, including receiving inspections and assembly builds, will be maintained by DCA in a file cabinet under the MR’s responsibility for one year. The procedure for handling records is as follows:

- Transfer the previous year into a legal-size box and store them in the File Storage room

- Save all prior years at the secured storage unit.

- Documentation Practices – Refer to QSP 4.2-4 Good Documentation Practices.

- Retention of Quality Records: —Per ISO 13485:2016 4.2.5 “ The organization shall retain the records for at least the lifetime of the medical device as defined by the organization, or as specified by applicable regulatory requirements, but not less than two years from the medical device release by the organization” , Per FDA 21 CFR 820.180, “all records shall be retained for a period of time equivalent to the design and expected life of the device, but in no case less than two years from the date of release for commercial distribution by the manufacturer.” TG(MD)R Sch3 P1 1.9 are retained by the manufacturer for at least 5 years, and PMDA, Quality Management System documentation, and records in relation to a device are retained by the Registered Manufacturing Site for the following periods (5 years for training records and documentation) [MHLW Ministerial Ordinance No.169: 8.4, 9.3, 67, 68. Tulip chooses to retain documentation of records for 10 years unless otherwise stated in the Minimum Duration of Retention column (Table 1), providing a list of types of records produced by Tulip Medical Products which are maintained by the Operations department under the responsibility of the MR.

- Type of record – The description of the record

    - Created During – The activity the record was created from

    - Minimum Duration of Retention – The minimum amount of time that the record is required to be retained for, per this QSP

Table 1: Quality Records

| Type of Record | Created During | Minimum Duration of Retention |
| --- | --- | --- |
| Audit Reports | Following Internal Audits | 10 years |
| Contracts and Order Reviews | Applicable reviews for Contracts and Orders | 10 years upon the end of the contract |
| Corrective Action Requests | Raising and tracking Corrective Action / Preventive Action Requests | 10 years |
| Obsolete Documentation | After Revision of Current Document | 5 prior revisions must be retained |
| Obsolete List of Approved Suppliers | Purchasing Evaluation | 5 prior revisions must be retained |
| Management Review | Minutes of Formal Meetings | 10 years |
| Non-Conforming Reports | Production / Receiving Inspection / Processing Errors | Lifetime of the medical device |
| Purchase Orders | Purchasing Activities | 10 years |
| Customer Returns | Product Returns | 10 years |
| Customer Data | All Customers | Lifetime of the company |
| Customer Sales Orders | Order process | 10 years |
| Records of Cleaning or Maintenance | Cleaning Controlled Environment Areas, Preventive and other maintenance, as applicable | 10 years |
| Training and Qualification Records | Conducting training and demonstration of competence | 10 years after separation of employment |
| Supplier Evaluation Reports | Evaluation of suppliers | 2 prior evaluations |
| Device History Record / Receiving Inspection Records | Production / Receiving | Lifetime of device and 10 years thereafter (or for the product shelf life if greater than 5 years) |
| Obsolete Device Master Record | Design and Development changes | Lifetime of device and 10 years thereafter (or for the product shelf life if greater than 5 years) |
| Technical Files | Design and development changes | Lifetime of device and 10 years thereafter (or for the product shelf life if greater than 5 years) |
| Risk Assessment | Product Risk Assessment | Lifetime of device and 10 years thereafter (or for the product shelf life if greater than 5 years) |
| Material Traceability Records | Receiving / Distribution | Lifetime of device and 10 years thereafter (or for the product shelf life if greater than 5 years) |
| Customer Concerns / Complaints | Receipt of customer concerns/complaints | Lifetime of the medical device |
| Notified Body / Competent Authority / FDA / Health Canada Correspondence | Correspondence | Life of the company |

  - CREATION OF RECORDS

All controlled documents will receive their own unique number when recording,

    - Unique numbers will start with an abbreviation based on the type of record

    - Followed by the year of record

    - Lastly ending with the next number in sequence from type of record

For example: DHR 25-001

    - DHR - Device History Record

    - 25  - The year it was created

    - 001 - First in sequence

  - DESTRUCTION OF RECORDS

Note:	Following the specified retention period, as identified in Table 1, the specified holder of the record(s), or a delegate, may destroy any obsolete documents or historical records, as deemed appropriate.

Destroying confidential files by

- In-office shredding or

- Confidential Destruction Services

  - PROVISION OF RECORDS TO REGULATORY REPRESENTATIVES

    - At the request of a Health Canada, Notified Body, FDA, or other Regulatory Representative, any quality record or copy of a quality record will be immediately provided for examination during regular company operating hours according to regulatory requirements.  All such requests are directed to the MR. Documents deemed confidential shall be marked accordingly.

    - Tulip Medical Products began maintaining the manual record system in 2011; this includes distribution records for sales in the US, Canada, the EU, Japan, and other countries.  Production-based records were maintained starting in 2013 when the Quality System Program was established.

- PROCESS FLOWCHART

N/A