Tulip Medical

Quality System Procedure

QSP 9.1-1

Conduct for FDA and Notified Body Audits

Approvals

Management Representative 						Date

Quality Assurance     						            Date

| Rev | Date | Description of Change |
| --- | --- | --- |
| 0 | 05/06/2013 | Initial release. |
| 1 | 01/15/2014 | Add test protocol and reporting guidance. |
| 2 | 09/10/2018 | Reformatted documented. Removed ‘COO’ and replaced with ‘MR.’ |
| 3 | 2/21/2021 | Modified section 7.2.2 to include ref. 2013/473/EU Annex lll, Added Section 8 – Unannounced visits to critical suppliers |
| 4 | 9/6/2022 | Reworded section 8 to include unannounced visits to Tulip as well as Tulip’s critical suppliers. |

- PURPOSE

The purpose of this procedure is to describe the policy and procedures used by Tulip Medical Products personnel in dealing with the FDA and Notified Body personnel during audits.

- SCOPE

This procedure is to be followed by all Tulip Medical Products personnel. Comprehension of, and satisfactory expertise in, the material covered by this Quality System Procedure by each employee will be indicated through the completion of all applicable and appropriate training requirements, as is indicated by the completion of Form 6.2-1-2 Training Record in accordance with QSP 6.2-1 Training and Qualification.

- REFERENCE DOCUMENTS

| FDA Safe Medical Device Act (information on US Food and Drug Administration web page) http://www.fda.gov/medwatch/how.htm |  |
| --- | --- |
| Office Journal of the European Union, Commission Recommendation of 24 Sept 2013 on the audits and assessment performed by notified bodies in the field of medical devices. 2013/473/EU Annex lll |  |
| Form 6.2-1-2 | Training Record |
| QSP 6.2-1 | Training and Qualification |

- DEFINITIONS

FD 482 – Notice of Inspection

FD 483 – List of Inspectional Observations

Management Representative – The member of Tulip Medical whose cross-functional role encompasses the development and monitoring of the quality management system to ensure accuracy and effectiveness of all Quality System Procedures (QSPs).

UA – Notified Body Unannounced Audits

- ABBREVIATIONS

FDA – Food and Drug Administration (USA)

MR – Management Representative

PM – Production/Quality System Manager

QSR – Quality System Requirements (FDA)

- RESPONSIBILITIES

The Management Representative (MR) is responsible for maintaining this procedure in a current state. All applicable employees are responsible for complying with the requirements of the procedure.

- PROCEDURE

  - Advance preparation (if no notice is given)

    - Contact the Production/Quality System Manager (PM), Regulatory Affairs Consultant, Management Representative (MR) and President upon arrival of the FDA Investigator or Notified Body Auditor.

    - The MR or the PM is the company’s appointed liaison.

  - Investigator / Auditor is scheduled to visit

    - The ISO notified body will conduct a yearly assessment of Tulip Medical Products Quality System. This will be scheduled in advance with the PM or the MR.

    - Advance notice for UA may be provided, but is not required per 2013/473/EU Annex lll Note: If advance notice is given, determine the purpose of the visit – routine inspection and level of inspection, complaint follow-up, etc.

  - FDA Investigator / Notified Body Auditor arrives

    - When first meeting the FDA Investigator or Notified Body Auditor, the liaison should examine the investigator’s credentials and receive form FD 482 Notice of Inspection from the FDA Investigator. The Notified Body Auditor will provide a business card and other paperwork announcing the audit.

    - The liaison is to determine the purpose of the visit, if not already known from advanced notification.

    - The liaison accompanies the FDA Investigator during his/her inspection at all times.

  - Company liaison responsibilities

    - The liaison will be with the investigator at all times. Duties include:

- Ensuring the FDA Investigator / Notified Body Auditor does not interfere with company day-to-day operations.

- Answering or obtaining answers to all questions posed by the investigator.

- Describing the product line and operations.

- Reviewing with the investigator all company policies and programs to include no unauthorized photography allowed.

- Ensure that no photographs / video are taken in Production Areas.

  - Investigator familiar with the company?

    - Provide update since last inspection, emphasizing recent changes in the Quality System, product line, validations, etc.

  - Provide overview

    - If the investigator is not familiar with the company, PM/MR will provide an overview briefing.

  - Inspection

    - At the start of the inspection, review with the investigator all company policies and programs. The MR/PM should emphasize the positive aspects of these programs.

    - The liaison and all personnel interacting with the FDA Investigator should be very cooperative, avoid conflict, and know when to terminate discussions with the investigator.

    - Proprietary information about the company, such as trade secrets, financial data, etc. can be discussed with the investigator/auditor.

    - The liaison should understand the investigator’s questions before answering. If needed, ask for explanation. Where applicable, the firm’s liaison should obtain answers from the most suitable employee.

    - The liaison should not attempt to compromise the compliance role of the FDA investigator or threaten to call his/her supervisor.

    - Deviations from QSPs noted by the FDA Investigator should be corrected promptly, during the inspection if at all possible.

Note: DO NOT state that a particular event is impossible with your product; it is quite likely that the investigator may already have a report that covers the impossible event.

  - Documentation for FDA Investigator / Notified Body Auditor

    - Retain duplicate copies of all samples, documents, or materials given to the FDA Investigator / Notified Body Auditor.

    - A receipt for samples may be signed by the MR/PM.

    - No company employee may acknowledge or sign affidavits issued by FDA personnel. If required, contact the company’s legal council.

  - Exit Interview

    - The liaison should ensure that all deviations or nonconformities are adequately discussed.

Note: If any deviations / nonconformities noted were corrected during the inspection, these corrections should be noted on the Investigator’s List of Inspectional Observations (FD 483) or the Notified Body Audit report.

    - If there is any disagreement, the liaison should present all of the company information and any regulations and official interpretations that support the company’s viewpoint.

  - Written reply to FD 483

    - Within five (5) days, the company should submit to the local FDA District Office the written reply to the FDA 483.

    - This reply should include

- How and when the company expects to make corrections.

- If there is a disagreement with an observation, the reasons and references for the disagreement must be included.

    - Ensure the response addresses all of the observations.

  - Written reply to Notified Body Audits

    - Within 30 days, the company will have to submit to the auditor/Notified Body a written plan for correcting minor nonconformities and proof of correction of major nonconformities. The audit response will include root cause analysis and plan to correct any and all related problem areas.

  - Follow-up Report

    - Ensure all appropriate employees are provided feedback on the results of the FDA Investigator or Notified Body Auditor’s visit.

    - Files notes from the visit/audits along with copies of all documents provided, the FD 482 and FD 483 (if applicable), including the response to the FD 483 (if applicable) in Dropbox.

    - The FDA will provide a copy of the Establishment Inspection Report (EIR) to the company when the FDA concludes the inspection is closed. This should be reviewed, and ay actions taken if required, and placed in the applicable FDA file.

- UNANNOUNCED VISITS TO TULIP AND CRITICAL SUPPLIERS

    - Regulatory bodies may arrive unannounced for an audit at the premises of Tulip or any of Tulip’s critical suppliers. In addition to visiting Tulip, if this is likely to ensure more efficient control.

    - For critical suppliers, this applies if the main part of the design development, manufacturing, testing or another crucial process is located with the subcontractor or supplier. (2013/473/EU Annex lll)

    - This will be added to the quality agreement of the critical supplier/subcontractor the provides contract manufacturing that includes a crucial process.

- FLOWCHART

  - N/A