IMPORTANT NOTICE

This Quality System Procedure is based on CMDR SOR 98/282. This Quality System Procedure can only be used in conjunction with the CMDR requirements in its entirety. Sample data is included, and each area needs to be assessed and indicated whether or not requirement is acceptable. If not acceptable, record NA. If acceptable, include applicable data and/or reference documents to verify compliance.

Approval

|  | Date: |  |
| --- | --- | --- |

Management Representative

|  | Date: |  |
| --- | --- | --- |

Quality Assurance/Regulatory Manager

REVISION STATUS:

| Rev | CR # | Effective Date | Description of Change | Originator |
| --- | --- | --- | --- | --- |
| 0 | Initial Rel | 09/26/2013 | Released documentation. | RF |
| 1 |  | 5/8/2023 | Updated QSP reference with QSP 9.1-7 Reformatted for clarity, Updated to SOR/2023-19 Amendment date 2/22/2023 Added reference in section 59-62.32 to QSP 9.1-7 Post Market Surveillance. | MHP |
| 2 |  | 3/14/2024 | Added reference to QSP 7.3-1 Design & Development in section 10. | MHP |

# PURPOSE

This procedure has been developed to identify how Tulip Medical Products will comply specifically with the requirements of Health Canada when supplying a medical device within Canada.

The Management Representative is responsible for ensuring that Tulip Medical Products complies with all the regulatory requirements specified within this QSP, and in accordance with the CMDR (Canadian Medical Devices Regulations).

# REFERENCES

QSP-4.2-2 Control of Quality Records 
QSP 7.5-3 Product Labeling

QSP 8.2-2 Customer Concerns and Complaints

QSP 9.1-5 Advisory Notices, Recall and Vigilance

QSP 9.1-7 Post Market Surveillance

SOR/98-282 Health Canada Medical Devices Regulations:

Medical Devices Regulations website:

http://www.hc-sc.gc.ca/dhp-mps/md-im/index_e.html

Canadian Medical Device Regulations, SOR/98-282. A link to Canadian Medical Device Regulations can be found at http://www.emergogroup.com/resources/regulations-canada but may change. In such case, the site may be found by entering “SOR/98-282” into a search engine.

# DEFINITIONS

Not Applicable.

# ABBREVIATIONS

CMDR	Canadian Medical Devices Regulations MR	Management Representative

WI	Work Instructions

# RESPONSIBILITY

The MR is responsible for maintaining this procedure in a current state and for ensuring that accurate records are maintained.

# FLOWCHART

Not applicable.

# PROCEDURE

In order to make this procedure user friendly, the following numbering of this section runs in parallel to the CMDR; it has been further simplified by using a matrix layout to perform self-analyses for all existing and any future devices we may develop.

NOTE: This procedure can only be used in conjunction with the current revision of the CMDR requirements in its entirety.

Section: Method of Compliance

1: All definitions apply as stated in CMDR.

2-5: Our devices DO fall under these requirements as “Medical Devices”.

6-7: Our devices require classification; refer to Schedule 1 field below.

8-9: Safety and efficacy is established using a Quality System, including established Product Specifications, documented manufacturing procedures and testing methods and Risk Analysis methodology, and completion of the Essential Requirements, 10: Established Quality System, including Product Specifications, documented manufacturing procedure and testing methods, Design Control procedures and Risk Analysis report, QSP 7.3-1 Design & Development. 11: Established Quality System, including Product Specifications, documented manufacturing procedure and testing methods and Risk

12: Established Quality System, including Product Specifications, documented manufacturing procedure and testing methods, complaint history and Risk Analysis report. 13: Established Quality System, including Product Specifications, documented manufacturing procedure and testing methods, complaint history, Design Control procedures and Risk Analysis report. 14: Established Quality System, including Product Specifications, documented manufacturing procedure and testing methods, complaint history, Design Control procedures and Risk Analysis report; plus packing instructions and shipping procedures and storage requirements. 15: Established Quality System, including Product Specifications, documented manufacturing procedure and testing methods, complaint history, Design Control procedures, Risk Analysis report; plus Packing and Shipping procedures, storage requirements (as applicable), and completion of the Essential Requirements. 16: Established Quality System, including Product Specifications, documented manufacturing procedure and testing methods, complaint history, Design Control procedures, Risk Analysis report, and completion of the Essential Requirements. 17: Sterilization – reusable cannulas and syringe locks are sold ‘non-sterile. Only single-use disposable cannulas and syringes are labeled as sterile. Non-sterile product families are sold with validated instructions for sterilization for the user to perform prior to use. 18: Design Control procedures and Risk Analysis report, and completion of the Essential Requirements. 19: Measuring function – Not applicable, Tulip Products are not measuring devices. 20: Software – Not Applicable – Tulip Medical Products does not sell devices with software. 21: All labeling requirements are evaluated as through QSP 7.5-3 Product Labeling. Labeling complies with EN 980, EN 1041, EU, FDA, and Health Canada Requirements. Labeling changes are maintained through QSP 4.2-3 Change Control. Label requirements are also verified during periodic internal quality audits. 22: With the exception of post- operative patient garments, upon the instructions of their physician, Tulip Medical Products are not sold to the general public. All Tulip Medical Products comply with applicable EN 980, EN 1041, EU, FDA, and Health Canada Requirements. 23: Information is in English; Instructions for use will be made available in other requested language if request is made. If product is sold in Canada to general public, labeling and instructions will be in French and English. 24: Contraceptive Devices – Not applicable 25: Class I Medical Device – are applicable for Tulip Reusable Cannulas and accessories. 26-27: Class II, III & IV Devices – Prohibition; Class ll device licenses will be obtained prior to sale into Canada and will be renewed annually, as required. 28-31: Device licenses for Tulip Medical Products will be obtained prior to sale of device(s) into Canada. We will comply. 32-32.5: Medical Device License and Quality System Certificate – Our application will follow the requirements of this Section 32. Additionally, we will be in compliance with ISO 13485 and hold a certificate that satisfies National Standard of Canada CAN/CSA-ISO 13485. 33: Foreign Manufacturers – Not applicable 34: All proposed changes to our device/system/facility will be transmitted to ALL appropriate regulatory bodies, including HC Minister, our Notified Body, and our Authorized Representative. 35: All appropriate information will be submitted to the “Minister”. 36: Issuance: Applicable, by way of receipt of device license. We will comply with terms and conditions of the issued licenses. 37: In Vitro Diagnostic Devices: Not applicable 38: Refusal to Issue: Applicable; all regulatory requirements will be adhered to. 39: Additional Information: Applicable; we will submit additional information, as necessary/requested. 40-42: Suspension: Applicable; we must abide by the decisions made by the “Minister”. 43-43.1: Obligation to Inform: Applicable; We will inform the “Minister” BEFORE 1st November each year that our device still meets the original details of our license application. We will also submit a copy of a new or modified ISO Certificate within 30 days after it was issued. 43.2-43.6: Medical Devices to be sold for the purposes of implementing the General Council Decision: Not Applicable 44-51: Establishment License: Tulip Medical Products will keep and maintain the Establishment License for Class I devices if the Canadian importer/distributor does not hold a valid Canadian Establishment License. If Distributors are used, Tulip Medical Products will ensure to have a valid Canadian Established License, and refer to Distributor Agreement. Verification will be confirmed during each audit of this procedure. If Distributors are used, Tulip will ensure they have a valid Canadian Established License, refer to Distributor Agreement. Verification will be confirmed during each audit of this procedure. 52-53: Distribution Records: Applicable; Our records are maintained in accordance with these sections, and the record retention time is defined within QSP-4.2-2 Control of Quality Records. If distributors are used, Tulip Medical Products will have a Distributor Agreement on file. 54: If class II devices are sold to Canada, Tulip Medical Products will comply with requirements. 55-56: Applicable. Our process for compliance is defined by QSP-4.2-2 Control of Quality Records. If distributors are used, Tulip Medical Products will have a Distributor Agreement on file. 57-58: Complaint Handling; Applicable; we will comply with these sections, also using our complaint procedures QSP 8.2-2 Customer Concerns and Complaints and QSP 9.1-5 Advisory Notices, Recall and Vigilance. If distributors are used, Tulip Medical Products will have a Distributor Agreement on file. 59-62.32: Problem Reporting: Applicable; we will comply with these sections and documented procedures, QSP 9.1-6 Medical Device Reporting, QSP 9.1-5 Advisory Notices, Recall and Vigilance, and QSP 9.1-7 Post Market Surveillance. 63-65.1: Recall; Applicable; we MUST adhere fully to the requirements of these sections, should a recall become necessary. Our QSP 9.1-5 Advisory Notices, Recall and Vigilance procedure provides specific details. 69-78: NA – Custom Made Devices are not sold to Canada by Tulip Medical Products. 79-88: NA – Device are not for investigational use. 89-92: Not applicable. All our products are manufactured in the USA by or for Tulip Medical Products and then offered for sale in Canada. 93-97: All sections apply, and we have taken steps to ensure our Quality Management System is fully compliant with the requirements of ISO 13485 prior to licensing devices in Canada. Schedule 1 – Transitional Provisions, Repeal & Coming into Force: Tulip Medical Products have been are Medical Devices and have been determined to be Class I by rule 3(b). Schedule 2 – Implants: Not applicable Schedule 3 – Export Certificate for Medical Devices: Not applicable. All our products are manufactured in the USA by or for Tulip Medical Products and then offered for sale in Canada.

`